## Summary
Downloadable Meter Point Files
Downloadable Meter Point Files can be accessed using Secure File Transfer Service. SFTS employs SFTP (secure file transfer protocol) to transfer data between a client and server. SSH (secure shell) is used to establish a connection between a client and server that acts like an encrypted tunnel. This encrypted tunnel protects any data files that are sent via this secure connection. ESBN uses this to transfer sensitive data to suppliers.
There are five downloadable meter point files 1. Domestic MRPN Details (domS_CUST.csv) 2. Domestic Meter Details (dom_reg.csv) 3. Commercial MPRN Details (COMM_CUST.csv) 4. Commercial Meter Details (COM_REG.csv) 5. Unmetered MPRN Details (unmt_cust.csv).
Click here to access Job Aid for Secure File Transfer Service
The history of changes tab will provide reference to all MCR's or other change initiatives that brought about change to the Downloadable Meter point files
The leading zeros associated with the CTF, SDS and DUoS billing cycle are included in the file. If the downloadable file is opened using Excel it drops the zero. Notepad or Notepad ++ should be used to open and interrogate the file.
The new Drop 6 fields will be located after the field : MED_INST on the DOMS_CUST file and will be called : MED_INST¦Smart Data Services Code¦Comms Technically Feasible¦Smart Non Participation Code¦DUoS Billing Frequency¦DUoS Billing Cycle
The New Fields on the Comm_CUST file will follow the field CA10 and will be called : CA10¦Smart Data Services Code¦Comms Technically Feasible¦Smart Non Participation Code¦DUoS Billing Frequency¦DUoS Billing Cycle
If you require any further information relating to this document, please contact RMDS who will endeavour to provide information and update the document accordingly.

## History of Changes
Date | Release Event | Description of Change | Document Version
2011-05-01 | Part 1 of Schema Release 2011 | MCR179 - Downloadable Meter Point Details Files. This is when the files were first created and released to market. | Document didn’t exist
2014-05-01 | Non Schema Release 2014 | MCR1137 - Downloadable Meter Point Files to only show Billable Meters | Document didn’t exist
2016-08-05 | Non Schema Release 2015 | MCR 1151 - Add the Meter Multiplier and Meter Category code value for each relevant MPRN to the COM_REG and DOM_REG files available on the Secure File Transfer System (SFTS) | v1.0
2019-04-23 | V12.00.00 Release | MCR1167 v6.0 - Facilitate energy efficiencies in Local Authority Public Lighting MCR1169 v3.0 - Addition of Postal Code to two Downloadable Meter Point Details Files MCR1173 v4.0 - Vulnerable Customer Implementation in RoI of SI 463 | v2.0
2021-02-16 | V13.00.00 Release | MCR 1157 v6.0 Smart Metering Data Processing & Data Aggregation MCR 1158 v6.0 Smart Metering Customer Data Changes MCR 1159 v6.0 Smart Metering Change of Supplier Update to Summary to provide information on using Downloadables File Additonal information on Smart Non Participation Code; DUoS Billing Frequency & DUoS Billing Cycle | V3.0
2022-06-29 | Interim microgen solution | Added the MEC as a result of MCR1213. Please note the MEC will be displayed for all metered MPRNs where an MEC value exists. Please see separately communicated file structure definition from RMDS for field definition and field location within file. | V4.0

## Downloadable Files Description
Field | SAP field | Field Present | Field Present | Field Present | Field Present | Field Present | Comments | Field Values
|  | Com Cust File | Com Reg File | Dom Cust File | Dom Reg File | Unmt Cust File
MPRN |  | X | X | X | X | X | Meter Point Reference Number
Meter Point Status |  | X |  | X |  | X | Meter Point Status is a code to identify the connection status of a meter point. The following are valid values for Meter Point Status on this message | E- Energised, D- De-energised T- Terminated A-Assigned
House No |  | X |  | X |  | X | Meter Point Address. In Market messages known as the A1 Address
House No 2 |  | X |  | X |  | X
street2 |  | X |  | X |  | X
street |  | X |  | X |  | X
street3 |  | X |  | X |  | X
street4 |  | X |  | X |  | X
street5 |  | X |  | X |  | X
City |  | X |  | X |  | X
Region |  | X |  | X |  | X
Postal Code |  | X |  | X
Country |  | X |  | X |  | X
Registration Status |  | X |  |  |  | X | Registered to Supplier | Y or N
Connection Agreement |  | X |  |  |  | X | Status of connection agreement | A- Active, P - In Progress, N - No connection agreement
Class |  | X |  | X |  | X | Duos Group
MIC |  | X |  | X |  | X | The capacity in kVA currently agreed in the connection agreement and permitted to be imported at a meter point.
Voltage |  | X |  | X |  | X | Voltage is electric potential energy per unit charge, measured in joules per coulomb ( = volts).
MCC |  | X |  | X |  | X | Meter Configuration Code, Refer to Meter Configuration Code Guidance Notes document for list of MCC codes
QH Eligibility |  | X |  |  |  |  | Indicates if the connection is eligible for QH metering as per the current threshold values
Cycle Days |  | X |  | X |  |  | The cycle day that a meter is due to be read.
Profile |  | X |  | X |  |  | Load Profile is a code that determines, when coupled with Timeslot, the derived profile to be applied to the consumption for settlement.
Notif.Name c/o |  | X |  |  |  |  | Notification or Correspondence Address. In Market messages known as the A2 Address
Notif.House No |  | X
Notif.House No 2 |  | X
Notif.street2 |  | X
Notif.street |  | X
Notif.street3 |  | X
Notif.street4 |  | X
Notif.street5 |  | X
Notif.City |  | X
Notif.Region |  | X
Notif.PostCode |  | X
Notif.Country |  | X
Settlement Class |  | X |  |  |  |  | A code that specifies how data is to be processed and aggregated for Settlement. | N – Synthetic profile to be used in settlement P- Interval data (collected from Interval Meter) to be used in settlement U – Meter point settled using unmetered profile
Grid ID |  | X |  |  |  |  | A code that indicates the network to which the Meter Point is connected. | DSO_GRID – The Distribution Network operated by ESB DSO TSO_GRID – The Transmission Network operated by Eirgrid
Distribution Loss Factor |  | X |  |  |  |  | Distribution Loss Factor accounts for electricity losses between the transmission control point and the consumer’s premise
Transmission Loss Factor |  | X |  |  |  |  | The factor that is currently applied to account for transformer losses when a meter point is metered at lower voltage than the connection voltage.
Title |  | X |  |  |  |  | Name Details
Surname |  | X
First Name |  | X
Org.Name 1 |  | X
Org.Name 2 |  | X
Registered Company |  | X
Trading As |  | X |  |  |  |  | This field can be used to populate information on companies / organisations that have a trading as name.
Generating Unit |  | X |  |  |  |  | Field not currently in use. Was used in the past
MEC |  | X |  | X |  |  | Maximum Export Capacity is a pre-determined agreement on the limit of the amount of electricity which may be generated and exported from a Generator site to the grid. The unit of measurement for MEC is kVA (kilovolt ampere).
Read Frequency |  | X |  |  |  |  | Read Frequency is a code that indicates the frequency of meter reading for the meter point. | M or B ( Monthly or Bi-monthly)
Trading Site Flag |  | X |  |  |  |  | Flag that indicates if this is a Trading Site Supplier Unit. | Y or N
SSR1 |  | X |  | X |  |  | Visually Impaired | 1
SSR2 |  | X |  | X |  |  | Speech Impaired | 2
SSR3 |  | X |  | X |  |  | Hearing Impaired | 3
SSR4 |  | X |  | X |  |  | Elderly | 4
SSR5 |  | X |  | X |  |  | Language Difficulty | 5
SSR6 |  | X |  | X |  |  | Learning Difficulty | 6
SSR7 |  | X |  | X |  |  | Mobility Impaired | 7
SSR8 |  | X |  | X |  |  | Dexterity Impaired | 8
SSR9 |  | X |  | X |  |  | Mental Health | 9
SSR10 |  | X |  | X |  |  | Other | 10
DIS_ON_EXT |  | X |  | X |  |  | Display on Extranet | Y or N
PSR1 |  | X |  | X |  |  | Life Support | 3
PSR2 |  | X |  | X |  |  | Non-Life Support | 4
MED_INST |  | X |  | X |  |  | Medical Institution | 5
Smart Data Services Code |  | X |  | X |  |  | Code to identify Smart Data Services | 01 Interval Services 02 Non Interval Services
Comms Technically Feasible |  | X |  | X |  |  | Code to indicate to a supplier the feasibility of the Communications to the Smart meter | 01 Comms proving failed 02 Non Interval Service Standard 03 Interval Service Standard 04 Remote Re-energisation Pre Payment standard of quality
Smart Non Participation Code |  | X |  | X |  |  | Code to identify Smart Non Participation details | 02 Non Technical Non Participation 03 Multiple Visits No Access 04 Smart Meter Exchange Deferred Smart Non Participation Code 02 takes priority over the other codes where 02 is one of the populated values in DSO System, e.g 02, 03 and 04 are all populated then only 02 will be reported. However if 03 and 04 are populated then 04 will take priority and be reported.
DUoS Billing Frequency |  | X |  | X |  |  | Duos Billing Frequency is a code that indicates the frequency of Duos billing at the meter point. This will output for an Interval Site only (MCC12) | B (Bi-Monthly)
DUoS Billing Cycle |  | X |  | X |  |  | Duos Billing Cycle Day refers to the day in a 41 working day cycle (ROI) that a Half Hourly meter is due to be Duos Billed. This will output for an Interval Site only (MCC12) | 01-41
Meter Location Description |  |  | X |  |  |  | Location of Meter
Meter Location Code |  |  | X |  |  |  | Code that refers to the physical position of a meter at a premises.
Time of Use Period |  |  | X |  | X |  | A code that indicates when a meter register is recording | 0NR - 08-21 MD Normal 0PK - 17-19 MD Peak 00D - 08-23 Day Consumption 00N= 23 -08 Night Consumption 24H - 24 Hour Consumption 24 M - 24 Hour MD 01D - 08:00-17:00 & 19:00-23:00 Day Consumption 01N - 23-08 Night Consumption 01P - 17:00-19:00 Peak Consumption
Next Meter Reading Date |  |  |  |  | X
Meter Register Seq |  |  | X |  | X |  | Meter Register Sequence is an identifier to distinguish between different meter registers on a physical meter or set of meters.
Date Meter Installed |  |  | X |  | X
Meter Reading Unit |  |  | X |  |  |  | Unit of measurement of Meter Reading.
Meter Multiplier |  |  | X |  | X |  | Meter Multiplier is a factor to be applied to an advance or reading at a register in order to derive a value in kWh.
Register Type |  |  | X |  | X |  | Register Type is a code that indicates the purpose of the register
Place before Decimal Point |  |  | X |  | X |  | The number of digits before the decimal place on the register of a meter
Place after Decimal Point |  |  | X |  |  |  | The number of digits after the decimal place on a register of a meter.
Meter Reading |  |  | X |  |  |  | Meter Reading Taken
Move-In Date |  |  | X |  |  |  | Date contract active from
Estimate |  |  |  | X |  |  | Estimate Count
Device |  |  |  |  | X |  | Meter Number
Meter Category |  |  | X |  | X |  | Meter Category is a code allocated by Meter Asset Manager to denote the manufacturer and type of meter. When combined with Serial Number it uniquely identifies device.
De-Energised Flag | [5 empty] | X | Indicates if site is de-energised | Y - Site is de-energised more than 6 months ago N - Site is de-energised less than 6 months ago Blank - site is not de-energised
Metering Class | [5 empty] | X | Unmetered
Reference No | [5 empty] | X | Street Light Reference Value
Repetition Factor | [5 empty] | X | Repetition Factor represents the number of pieces of equipment valid for this segment i.e. with the same Un-metered Type / Billing Value combination.
Unmeter Type | [5 empty] | X | Codified field indicating the type of unmetered installation
Burn Hour Calender | [5 empty] | X | Duration of burn hours
Actual Wattage | [5 empty] | X | Equipment rated power demand
Billable Wattage | [5 empty] | X | Billable Wattage represents the total energy consumption including applicable adjustments
Burn Hour Calender_2 | [5 empty] | X | Duration of burn hours (optional; used for Public Lighting where this is for a second Burning Hour Calendar code per TMPRN)
Actual Wattage_2 | [5 empty] | X | Equipment rated power demand (optional; used for Public Lighting where this is for a second Actual Wattage per TMPRN)
Billable Wattage_2 | [5 empty] | X | Billable Wattage represents the total energy consumption including applicable adjustments (optional; used for Public Lighting where this is for a second Billable Wattage per TMPRN)
Burn Hour Calender_3 | [5 empty] | X | Duration of burn hours (optional; used for Public Lighting where this is for a third Burning Hour Calendar code per TMPRN)
Actual Wattage_3 | [5 empty] | X | Equipment rated power demand (optional; used for Public Lighting where this is for a third Actual Wattage per TMPRN)
Billable Wattage_3 | [5 empty] | X | Billable Wattage represents the total energy consumption including applicable adjustments (optional; used for Public Lighting where this is for a third Billable Wattage per TMPRN)
Power Factor | [5 empty] | X | This is a term used to describe the relationship between ‘active/real’ power (kW), ‘reactive/wattless’ power (kVAr), and ‘apparent’ power (kVA). Power factor is always 1 or less.
GMPRN | [5 empty] | X | Group Meter Point Reference Number
GMPRN House No | [5 empty] | X | Notification or Correspondence Address of the GMPRN.
GMPRN House No 2 | [5 empty] | X
GMPRN street2 | [5 empty] | X
GMPRN street | [5 empty] | X
GMPRN street3 | [5 empty] | X
GMPRN street4 | [5 empty] | X
GMPRN street5 | [5 empty] | X
GMPRN City | [5 empty] | X
GMPRN Region | [5 empty] | X
GMPRN Country | [5 empty] | X