## Site Specific DLAFs 2021-22
MPRN | EXPORT ARRANGEMENT ID | DLAF PROFILE NUMBER | NAME | ADDRESS | ENERGISATION DATE | MIC (kVA) | MEC (kVA) | SETTLEMENT UNIT | GUID | PARTICIPANT/NON-PARTICIPANT | DG GROUP | Night DLAF | Day DLAF
10021247107 | 1 | 5078 | ARKLOW ENERGY LTD | ARKLOW, NORTH QUAY | Pre-SAP | 15 | 26526 | G32A2 | GU_401020 | P | DG9A | 1.0182 | 1.0142
10013448097 | 2 | 5079 | HIBERNIAN WIND POWER LTD | CO WEXFORD, CARNSOR | 2007-11-01 | 50 | 11900 | G24A1 | GU_400470 | P | DG9A | 1.014 | 1.01
10300081614 | 3 | 5080 | Gartnaneane Windfarm Limited | BAILIEBOROUGH, GARTANEANE | 2005-01-11 | 130 | 11052 | G46A1 | GU_400041 | P | DG9A | 1.0083 | 1.0043
10025763688 | 4 | 5081 | KILRUSH ENERGY LTD | KILRUSH, MOANMORE | 2005-01-11 | 30 | 13548 | G41A2 | GU_400970 | P | DG9A | 1.0209 | 1.0169
10020484406 | 5 | 5082 | MATRIX ENERGY | CASTLEBAR, RAHEEN BARR | 2010-04-08 | 200 | 19684 | G31A2 | GU_400810 | P | DG9A | 1.0087 | 1.0047
10017038211 | 7 | 5083 | Dedondo Ltd | LETTERKENNY, CLOGHAN | Pre-SAP | 90 | 12505 | G08A1 | GU_400030 | P | DG9A | 1.0181 | 1.0141
10302123092 | 9 | 5084 | Taurbeg Wind Farm | Taurmore Newmarket | 2006-03-30 | 300 | 27368 | GC7A1 | GU_401640 | P | DG9A | 1.0068 | 1.0028
10021995380 | 10 | 5097 | GREENSTAR LIMITED | KILL, ARTHURSTOWN | Pre-SAP | 520 | 4462 | G34A1 | GU_400570 | P | DG9A | 1.0147 | 1.0107
10300089101 | 11 | 5085 | Gartnaneane Windfarm Limited | BAILIEBOROUGH, GARTNANEANE | 2005-01-11 | 50 | 4736 |  |  | N | DG7A | 1.0272 | 1.0212
10019021903 | 12 | 5086 | CUILLALEA WEST WINDFARM LTD | CO MAYO, CUILLALEA WEST | Pre-SAP | 100 | 3579 |  |  | N | DG7A | 1.022 | 1.016
10300495787 | 13 | 5087 | Coomatallin Windfarm Limited | CO CORK, COOMATALLIN | 2005-05-17 | 30 | 6400 |  |  | N | DG7A | 1.0091 | 1.0031
10300553154 | 14 | 5088 | GREENOGUE WINDFARM LTD | ENNISCORTHY, BUNCLODY | 2005-06-06 | 95 | 5365 |  |  | N | DG7A | 1.0213 | 1.0153
10019021903 | 16 | 5086 | CUILLALEA WEST WINDFARM LTD | CO MAYO, CUILLALEA WEST | Pre-SAP | 100 | 3579 |  |  | N | DG7A | 1.022 | 1.016
10300495787 | 17 | 5087 | Coomatallin Windfarm Limited | CO CORK, COOMATALLIN | 2005-05-17 | 30 | 6400 |  |  | N | DG7A | 1.0091 | 1.0031
10300553154 | 18 | 5088 | GREENOGUE WINDFARM LTD | ENNISCORTHY, BUNCLODY | 2005-06-06 | 95 | 5365 |  |  | N | DG7A | 1.0213 | 1.0153
10302011012 | 19 | 5092 | TOURNAFULLA WINDFARM (ROI) LTD | CO LIMERICK, TOURNAFULLA WINDFARM | 2007-01-18 | 30 | 7894 |  |  | N | DG9A | 1.0174 | 1.0134
10017808720 | 20 | 5093 | C.R.E.ENERGY LTD | CO DONEGAL, BARNESMORE | Pre-SAP | 33 | 15789 | G83A2 | GU_401170 | P | DG7A | 1 | 1
10017074225 | 21 | 5094 | CARK LTD | LETTERKENNY, CARK | Pre-SAP | 54 | 15789 | G84A2 | GU_401630 | P | DG9A | 1.0032 | 0.99923
10018741561 | 22 | 5095 | TURSILLAGH 1 LTD | TRALEE, TURSILLAGH | Pre-SAP | 100 | 15000 | G85A3 | GU_403830 | P | DG9A | 1.0151 | 1.0111
10021995380 | 23 | 5097 | GREENSTAR LIMITED | KILL, ARTHURSTOWN | Pre-SAP | 520 | 4462 | G34A2 | GU_400571 | P | DG9A | 1.0147 | 1.0107
10300460726 | 24 | 5098 | MONEENATIEVE WINDFARM LTD | CARRICK-ON-SHANNON, ARIGNA | 2005-08-12 | 47 | 8225 |  |  | N | DG7A | 0.94417 | 0.94417
10000070875 | 25 | 5099 | GLANBIA INGREDIENTS LTD | CO KILKENNY, BALLYCONRA | Pre-SAP | 13700 | 7500 |  |  | N | DG8B | 1.038 | 1.032
10019137781 | 26 | 5100 | PORTFINCH LTD | BALLYBUNION, BEALE | Pre-SAP | 20 | 2684 |  |  | N | DG7A | 0.98677 | 0.98277
10000016775 | 27 | 5101 | Dublin City Council | DUBLIN 8, WOOD QUAY | Pre-SAP | 1500 | 970 |  |  | N | DG7B | 1.038 | 1.032
10000050068 | 28 | 5102 | MILLIPORE IRELAND BV | CARRIGTWOHILL, TULLAGREEN | Pre-SAP | 3500 | 500 |  |  | N | DG7B | 1.021 | 1.017
10000084180 | 29 | 5103 | LAKELAND DAIRIES CO OP | CO MONAGHAN, LOUGH EIGISH | Pre-SAP | 2600 | 1500 |  |  | N | DG7B | 1.038 | 1.032
10000048780 | 30 | 5104 | FMC INTERNATIONAL | CO CORK, LITTLE ISLAND | Pre-SAP | 2400 | 2000 |  |  | N | DG7B | 1.038 | 1.032
10300533439 | 31 | 5105 | JAROMA WINDFARM LTD | CO TIPPERARY, TOOMEVARA | 2006-01-12 | 15 | 2742 |  |  | N | DG7A | 1.0131 | 1.0071
10300850722 | 32 | 5106 | WATERFERN LTD. | CO LEITRIM, ARIGNA | 2005-09-01 | 15 | 7312 |  |  | N | DG7A | 0.9674 | 0.9674
10300467945 | 33 | 5107 | Greenstar Gas Energy Limited | KILCULLEN, BROWNSTOWN | 2005-07-01 | 100 | 3963 |  |  | N | DG7A | 1.0177 | 1.0117
10300509275 | 34 | 5108 | NORTH TIPPERARY WINDPOWER LTD | NENAGH, BALLINVENY | 2005-12-20 | 50 | 2684 |  |  | N | DG7A | 1.0037 | 0.99772
10301238742 | 35 | 5109 | FRAMORE LTD MUKDAR | CO CORK, CURRAGLASS | 2006-12-07 | 100 | 8948 |  |  | N | DG9A | 1.0122 | 1.0082
10301087379 | 36 | 5110 | BEARNA GAOITHE TEO | CO WICKLOW, SHILLELAGH | 2005-08-12 | 21 | 4473 |  |  | N | DG7A | 1.0309 | 1.0249
10022084017 | 37 | 5111 | AEOLUS ENERGY LTD | NENAGH, CURRAGHGRAIGUE | Pre-SAP | 15 | 2685 |  |  | N | DG7A | 1.0014 | 0.99538
10302461339 | 38 | 5112 | ORLIVEN LTD. | CO LEITRIM, ARIGNA | 2006-10-14 | 15 | 3656 |  |  | N | DG7A | 1.0096 | 1.0036
10017742180 | 39 | 5113 | GINEADOIRI GAOITHE TEO | CO DONEGAL, GWEEDORE | Pre-SAP | 65 | 5242 |  |  | N | DG9A | 1.0201 | 1.0161
10020227946 | 40 | 5114 | Ganderoy Limited | CO CAVAN, BALLYCONNELL | Pre-SAP | 130 | 3158 |  |  | N | DG7A | 1.0202 | 1.0142
10000045765 | 41 | 5115 | CM POWER | CO CORK, BALLINEEN | Pre-SAP | 6250 | 6320 |  |  | N | DG8A | 1.021 | 1.017
10301155154 | 42 | 5116 | GUESTVOY LTD | CO SLIGO, GEEVAGH | 2006-01-17 | 316 | 5211 |  |  | N | DG7A | 0.97088 | 0.97088
10021161404 | 43 | 5117 | INDEPENDENT BIOMASS | CO CORK, ENNISKEANE | Pre-SAP | 30 | 2842 |  |  | N | DG7B | 1.0368 | 1.0308
10302419462 | 44 | 5118 | DUNMORE WIND POWER LTD | DUNDALK, DUNMORE | 2006-07-13 | 50 | 4421 |  |  | N | DG7A | 1.0265 | 1.0205
10000001775 | 45 | 5119 | COMBINED ENERGY SOLUTIONS | DUBLIN 1, NORTH WALL QUAY | 2004-11-29 | 600 | 1000 |  |  | N | DG6B | 1.038 | 1.032
10301162569 | 46 | 5120 | GNEEVES WINDFARM LTD | CO CORK, MILLSTREET | 2005-10-01 | 15 | 9842 |  |  | N | DG9A | 1.0118 | 1.0078
10302403799 | 47 | 5121 | KILVINANE WINDFARM LTD | DUNMANWAY, KILVINANE | 2006-06-22 | 15 | 4737 |  |  | N | DG7A | 1.017 | 1.011
10021281793 | 48 | 5122 | CORR NA GAOITHE | LOUGHREA, SONNAGH OLD WINDFARM | Pre-SAP | 50 | 8053 |  |  | N | DG9A | 1.0077 | 1.0037
10016690052 | 49 | 5123 | LARGAN HILL WINDFARM LTD | BALLAGHADERREEN, LARGAN | Pre-SAP | 54 | 6253 |  |  | N | DG9A | 1.0198 | 1.0158
10019136550 | 50 | 5124 | ARRAKIS LTD | CO DONEGAL, MEENADREEN | Pre-SAP | 50 | 3579 |  |  | N | DG7A | 1.028 | 1.022
10301238754 | 51 | 5125 | CARRIG WINDFARM LTD | BIRR, LACKA | 2006-04-28 | 39 | 2684 |  |  | N | DG7A | 1.0093 | 1.0033
10302403964 | 52 | 5126 | LAHANAGHT HILL WINDFARM LTD | CO CORK, LAHANAGHT | 2006-06-29 | 50 | 4474 |  |  | N | DG7A | 1.0189 | 1.0129
10300448487 | 53 | 5127 | MOUNT EAGLE WINDFARM | CO KERRY, MOUNT EAGLE | 2005-04-22 | 15 | 5484 |  |  | N | DG7A | 1.0082 | 1.0022
10017808732 | 54 | 5128 | SAPORITO WINDFARM | DONEGAL TOWN, LOUGH EASK | Pre-SAP | 33 | 2084 |  |  | N | DG7A | 1.0018 | 0.99577
10024529491 | 55 | 5129 | REDWIND ENERGY LTD | LIFFORD, MEENANILTA | Pre-SAP | 30 | 2580 |  |  | N | DG7A | 1.0252 | 1.0192
10018932997 | 56 | 5130 | REDWIND ENERGY LTD | LIFFORD, MEENANILTA | Pre-SAP | 30 | 2684 |  |  | N | DG7A | 1.0252 | 1.0192
10300460964 | 57 | 5131 | MONEENATIEVE WINDFARM LTD | CARRICK-ON-SHANNON, ARIGNA | 2005-08-12 | 28 | 4258 |  |  | N | DG7A | 0.94731 | 0.94731
10021220572 | 58 | 5132 | BIOVERDA POWER SYSTEMS LTD | KILDARE, SILLIOT HILL | Pre-SAP | 15 | 1308 |  |  | N | DG7 | 0.96633 | 0.96033
10020202199 | 59 | 5090 | MR DAN TWOMEY T/A | CORK, LEE ROAD | Pre-SAP | 15 | 285 |  |  | N | DG5A | 1.092 | 1.076
10000061473 | 60 | 5091 | WYETH NUTRITIONALS IRELAND | ASKEATON, FOYNES ROAD | Pre-SAP | 9000 | 6500 |  |  | N | DG8B | 1.0187 | 1.0147
10021487062 | 61 | 5096 | TURSILLAGH 2 LTD | TRALEE, TURSILLAGH | Pre-SAP | 50 | 6800 | G45A1 | GU_400560 | P | DG9A | 1.0151 | 1.0111
10301238761 | 62 | 5134 | SKEHANAGH WIND FARM | BIRR, DRUMINDUFF | 2006-04-28 | 70 | 4474 |  |  | N | DG7A | 1.0084 | 1.0024
10301238742 | 63 | 5135 | FRAMORE LTD GAOITHE GLAS TEOR | CO CORK, CURRAGLASS | 2006-12-07 | 15 | 1 |  |  | N | DG7 | 1.0122 | 1.0082
10000005860 | 64 | 5136 | ELECTRICAL POWER | DUBLIN 7, ECCLES STREET | Pre-SAP | 2250 | 1579 |  |  | N | DG7 | 1.038 | 1.032
10000016294 | 65 | 5137 | GUINNESS IRELAND GROUP | DUBLIN 8, SAINT JAMES GATE | Pre-SAP | 6000 | 8500 |  |  | N | DG7A | 1.038 | 1.032
10000032641 | 66 | 5138 | UNIVERSITY COLLEGE DUBLIN | DUBLIN 4, BELFIELD | Pre-SAP | 5600 | 1000 |  |  | N | DG7B | 1.038 | 1.032
10000042319 | 68 | 5140 | SOUTHERN HEALTH BOARD | CORK, WILTON | Pre-SAP | 3700 | 806 |  |  | N | DG7B | 1.038 | 1.032
10000048023 | 69 | 5141 | DAIRYGOLD CO-OP SOC LTD | MITCHELSTOWN, Castlefarm Complex | Pre-SAP | 8900 | 9000 |  |  | N | DG8A | 1.021 | 1.017
10000049211 | 70 | 5142 | DAIRYGOLD CO-OP SOC LTD | MALLOW, ANNABELLA | Pre-SAP | 3800 | 4400 |  |  | N | DG9A | 1.0207 | 1.0167
10000061081 | 71 | 5143 | KERRY INGREDIENTS IRELAND LTD | CO CORK, MAIN STREET | Pre-SAP | 4500 | 4700 |  |  | N | DG7A | 1.038 | 1.032
10000061455 | 72 | 5144 | AEROBORD LTD | ASKEATON, BREWERY LANE | Pre-SAP | 1000 | 300 |  |  | N | DG7B | 1.0033 | 0.99733
10000098019 | 73 | 5145 | JOSEPH STEWART & CO | BOYLE, PATRICK STREET | Pre-SAP | 75 | 139 |  |  | N | DG7 | 1.0379 | 1.0319
10002376296 | 74 | 5146 | BIOVERDA POWER SYSTEMS LTD | DUBLIN 24, BOHERNABREENA | Pre-SAP | 15 | 1049 |  |  | N | DG7 | 1.0366 | 1.032
10004271021 | 75 | 5147 | BIOVERDA POWER SYSTEMS LTD | LUSK, BALLEALLY 1 | Pre-SAP | 172 | 5137 |  |  | N | DG7 | 1.0055 | 0.99946
10004420399 | 76 | 5148 | BIOVERDA POWER SYSTEMS LTD | DUBLIN 15, DUNSINK LANE | Pre-SAP | 15 | 5234 |  |  | N | DG9 | 1.0201 | 1.0161
10005293685 | 77 | 5149 | BIOVERDA POWER SYSTEMS LTD | DUBLIN 18, BALLYOGAN LANE | Pre-SAP | 15 | 2055 |  |  | N | DG7 | 1.0363 | 1.0303
10006758043 | 78 | 5150 | GALEFORCE ENERGY LTD | DUNMANWAY, CURRABWEE | Pre-SAP | 29 | 4863 | G92A1 | GU_400700 | P | DG9A | 1.021 | 1.017
10006964078 | 79 | 5151 | MHB WINDFARMS LTD | DUNMANWAY, MILLANE | Pre-SAP | 54 | 6253 |  |  | N | DG9A | 1.0195 | 1.0155
10007057553 | 80 | 5152 | CELTIC HYDRO LTD | BANTRY, BORLIN | Pre-SAP | 25 | 398 |  |  | N | DG7 | 0.98794 | 0.98194
10007059854 | 81 | 5153 | OWENBEG NATURAL | BANTRY, CARRIGANASS | Pre-SAP | 29 | 920 |  |  | N | DG7 | 0.99576 | 0.98976
10007179935 | 82 | 5154 | GLENLOUGH GENERATIONS LTD | BANTRY, ADRIGOLE | Pre-SAP | 15 | 430 |  |  | N | DG7 | 1.0377 | 1.0317
10007824641 | 83 | 5155 | MHB WINDFARMS LTD | TRALEE, KILFLYNN | Pre-SAP | 54 | 4168 |  |  | N | DG7A | 0.95786 | 0.95186
10008120168 | 84 | 5156 | TREWELL LTD | CO KERRY, BREANLEE | 2006-03-01 | 15 | 1258 |  |  | N | DG7A | 1.0272 | 1.0212
10008264167 | 85 | 5157 | CELTIC HYDRO LTD | BANTRY, SLAHENY | 2006-01-11 | 25 | 527 |  |  | N | DG7 | 0.98483 | 0.97883
10008264258 | 86 | 5158 | SANDVIEW LTD | KENMARE, ASHGROVE | Pre-SAP | 15 | 699 |  |  | N | DG7 | 1.0377 | 1.0317
10010773872 | 87 | 5159 | FUINNEAMH GAOITHE TEO | CO NA GAILLIMHE, AN CNOC | Pre-SAP | 15 | 3474 |  |  | N | DG7A | 0.99301 | 0.98701
10011442787 | 88 | 5160 | NADIRKMORE ENERGY LTD | CO MAYO, CAPPANACREHA | Pre-SAP | 33 | 441 |  |  | N | DG7 | 1.0377 | 1.0317
10011591965 | 89 | 5161 | WIND FARM COMHAR CHUMAN | CO GALWAY, INIS MEAIN | Pre-SAP | 80 | 726 |  |  | N | DG7A | 1.038 | 1.032
10012003026 | 90 | 5162 | MR NICHOLAS MOSSE | CO KILKENNY, BENNETTSBRIDGE | Pre-SAP | 48 | N/A |  |  | N | DG5 | 1.092 | 1.076
10012205039 | 91 | 5163 | INT.TRAILERS LTD | BAGENALSTOWN, REGENT STREET | Pre-SAP | 48 | 130 |  |  | N | DG5 | 1.038 | 1.032
10015910442 | 92 | 5164 | ROBERT PERRY & CO LD | CO OFFALY, BELMONT | Pre-SAP | 15 | 430 |  |  | N | DG7 | 1.0375 | 1.0315
10016837569 | 93 | 5165 | BAYDEEN LTD | CO SLIGO, COLLOONEY | Pre-SAP | 15 | 538 |  |  | N | DG7 | 1.0373 | 1.0313
10016837644 | 94 | 5166 | ROCKYGRANGE HYDROELECTRIC | CO SLIGO, BALLISODARE | Pre-SAP | 15 | 2305 |  |  | N | DG7 | 1.0131 | 1.0071
10016943869 | 95 | 5167 | CELTIC HYDRO LTD | CO DONEGAL, MEENAHALLA | Pre-SAP | 15 | 349 |  |  | N | DG7 | 1.0372 | 1.0312
10016943871 | 96 | 5168 | TAWNAWULLY POWER LTD | CO DONEGAL, BARNESMORE | Pre-SAP | 15 | 591 |  |  | N | DG7 | 1.0346 | 1.0286
10016943883 | 97 | 5169 | CELTIC HYDRO LTD | CO DONEGAL, BARNESMORE | Pre-SAP | 25 | 522 |  |  | N | DG7 | 1.035 | 1.029
10017431538 | 98 | 5170 | HAVASU LTD | ROSCOMMON, ARIGNA | Pre-SAP | 54 | 5053 |  |  | N | DG7A | 1.031 | 1.025
10017431541 | 99 | 5171 | AWC LTD | CO ROSCOMMON, ARIGNA | Pre-SAP | 15 | 1263 | G17A1 | GU_401130 | P | DG7A | 1.0325 | 1.0265
10017431553 | 100 | 5172 | KILRONAN WINDFARM LTD | CO ROSCOMMON, ARIGNA | Pre-SAP | 54 | 5263 |  |  | N | DG7A | 1.0356 | 1.0296
10017541698 | 101 | 5173 | BLACK BANKS WINDFARM | CO LEITRIM, DRUMKEERIN | Pre-SAP | 54 | 3579 |  |  | N | DG7A | 0.9674 | 0.9674
10017597682 | 102 | 5174 | RENEWABLE ENERGY IRL LTD | CO MAYO, BELLACORICK | Pre-SAP | 152 | 6789 |  |  | N | DG7A | 1.0293 | 1.0233
10017808705 | 103 | 5175 | MR J FINGLETON | DONEGAL TOWN, LOUGH EASK | Pre-SAP | 15 | 699 |  |  | N | DG7A | 1.0367 | 1.0307
10017808718 | 104 | 5176 | ANARGET | DONEGAL TOWN, LOUGH EASK | Pre-SAP | 15 | 865 | G94A2 | GU_401111 | P | DG7 | 0.99581 | 0.98981
10018005831 | 105 | 5177 | CROCKAHENNY WINDFARM LTD | BUNCRANA, ILLIES | Pre-SAP | 29 | 5263 |  |  | N | DG9A | 1.0209 | 1.0169
10018005848 | 106 | 5178 | BAYLSHAM LTD | CO DONEGAL, DRUMLOUGHILL | Pre-SAP | 100 | 5053 |  |  | N | DG9A | 1.0171 | 1.0131
10018621839 | 107 | 5179 | FISHERMENS CO-OP SOCIETY | CO DONEGAL, BURTONPORT | Pre-SAP | 15 | 710 |  |  | N | DG7A | 1.038 | 1.032
10018742385 | 108 | 5180 | FIRST ELECTRIC LTD | BALLYBUNION, BEALE HILL | Pre-SAP | 29 | 1737 | G35A1 | GU_400680 | P | DG7A | 0.98677 | 0.98277
10021334999 | 109 | 5181 | MIENVEE ENERGY LTD. | CO TIPPERARY, MOANVAUN | Pre-SAP | 20 | 895 |  |  | N | DG7A | 1.0369 | 1.0309
10300977812 | 110 | 5182 | LACKAN WIND ENERGY LTD | ENNISCRONE, LACKAN WINDFARM | 2007-05-14 | 30 | 6316 |  |  | N | DG7A | 1.0237 | 1.0177
10302403478 | 111 | 5183 | CRONELEA WIND FARM LTD | CO WICKLOW, CRONELEA | 2007-03-09 | 60 | 5262 |  |  | N | DG7A | 1.038 | 1.032
10016690052 | 112 | 5123 | LARGAN HILL WINDFARM LTD | BALLAGHADERREEN, LARGAN | Pre-SAP | 54 | 6253 |  |  | N | DG9A | 1.0198 | 1.0158
10301238761 | 113 | 5134 | SKEHANAGH WIND FARM | BIRR, DRUMINDUFF | 2006-04-28 | 70 | 4474 |  |  | N | DG7A | 1.0084 | 1.0024
10017200103 | 115 | 5184 | ISLAND SEAFOODS | KILLYBEGS, STRAGAR | 2004-11-27 | 95 | 368 |  |  | N | DG7A | 1.0379 | 1.0319
21300001088 | 116 | 5185 | CONOCOPHILLIPS W'GATE REF. LTD | CO CORK, WHITEGATE | Pre-SAP | 13000 | N/A |  |  | N | TCON | 1 | 1
10021995380 | 117 | 5097 | GREENSTAR LIMITED | KILL, ARTHURSTOWN | Pre-SAP | 520 | 4462 | G34A3 | GU_400580 | P | DG9A | 1.0147 | 1.0107
10304021627 | 119 | 5186 | ESB Power Generation | CO DONEGAL, CLADY | 2007-10-01 | 15 | 4000 | G19A1 | GU_401190 | P | DG9A | 1.021 | 1.017
10304021611 | 120 | 5187 | ESB Power Generation | BANTRY, DERRYDUV | 2007-10-01 | 15 | 680 | G18A1 | GU_401200 | P | DG7A | 0.99615 | 0.99015
10013545899 | 121 | 5188 | HOGG ENTERPRISES LTD | CO WEXFORD, CLOHAMON MILLS | 2004-11-05 | 48 | 142 |  |  | N | DG5 | 1.092 | 1.076
10018005848 | 122 | 5178 | BAYLSHAM LTD | CO DONEGAL, DRUMLOUGHILL | Pre-SAP | 100 | 5053 |  |  | N | DG9A | 1.0171 | 1.0131
10301456577 | 123 | 5189 | TORNADO ELECTRIC LTD | CO WATERFORD, BEALOUGH WIND FARM | 2007-10-01 | 15 | 1790 |  |  | N | DG7A | 1.0263 | 1.0203
10017808732 | 124 | 5128 | SAPORITO WINDFARM | DONEGAL TOWN, LOUGH EASK | Pre-SAP | 33 | 2084 |  |  | N | DG7A | 1.0018 | 0.99577
10017808732 | 125 | 5128 | SAPORITO WINDFARM | DONEGAL TOWN, LOUGH EASK | Pre-SAP | 33 | 2084 | G94A1 | GU_401110 | P | DG7A | 1.0018 | 0.99577
10301816738 | 126 | 5190 | Mahon Hydro Ltd | CO WATERFORD, KILMACTHOMAS | 2007-03-22 | 100 | 737 |  |  | N | DG7A | 1.0317 | 1.0257
10300546934 | 127 | 5191 | KILLYBEGS WIND POWER LTD | KILLYBEGS, KILLYBEGS WINDFARM | 2007-11-30 | 15 | 2684 |  |  | N | DG7A | 1.0282 | 1.0222
10303497303 | 128 | 5192 | Tournafulla Windfarm (ROI) Ltd | Tournafulla Co Limerick | 2008-04-01 | 250 | 18105 | G86A1 | GU_400600 | P | DG9A | 0.97789 | 0.97789
10303741562 | 129 | 5193 | MULLANANALT WINDFARM (ROI)LTD | CO MONAGHAN, LATTON | 2008-02-03 | 211 | 7895 |  |  | N | DG9A | 1.0124 | 1.0084
10300546945 | 130 | 5194 | HIGHLAND WIND ENERGY LTD | RATHMULLAN, LURGANBOY WINDFARM | 2008-05-12 | 15 | 5368 |  |  | N | DG7A | 1.0268 | 1.0208
10300546957 | 131 | 5195 | NORTH WEST WIND LTD | GLENTIES, LOUGHDERRYDUFF WINDFARM | 2008-06-06 | 15 | 8052 |  |  | N | DG9A | 1.0172 | 1.0132
10304037106 | 132 | 5196 | BROSNA HYDRO ENERGY | CLARA, FREDERICK STREET | 2008-02-01 | 15 | 150 |  |  | N | DG5A | 1.0701 | 1.0541
10304211844 | 133 | 5197 | SLIEVERAGH POWER LTD | CO LIMERICK, THE OLD MILL | 2008-08-06 | 15 | 138 | G91A1 | GU_400670 | P | DG5A | 1.0488 | 1.0328
10301670518 | 134 | 5198 | MOUNT EAGLE WINDFARM LTD. | CO KERRY, MOUNT EAGLE | 2008-09-18 | 15 | 1789 |  |  | N | DG7A | 1.0082 | 1.0022
10000081818 | 135 | 5199 | Dublin City Council | CO WICKLOW, ROUNDWOOD | 2004-11-02 | 71 | 63 |  |  | N | DG6B | 1.0441 | 1.0281
10303344535 | 136 | 5201 | EDRANS WIND LIMITED | COOTEHILL, TULLYCO | 2008-11-13 | 100 | 3158 |  |  | N | DG7A | 1.0285 | 1.0225
10002558102 | 137 | 5202 | CELBRIDGE COMMUNITY | CELBRIDGE, THE MILL | 2004-11-06 | 48 | 57 |  |  | N | DG5 | 1.092 | 1.076
10304040483 | 138 | 5205 | Sheeragh Wind Ltd | BUNCRANA, Beauville | 2009-02-24 | 92 | 4421 |  |  | N | DG7A | 0.98962 | 0.98962
10304041784 | 139 | 5206 | GLACKMORE WIND POWER LTD | CO DONEGAL, GLACKMORE | 2009-02-20 | 15 | 2421 |  |  | N | DG7A | 0.9733 | 0.9733
10302580276 | 140 | 5204 | KNOCKASTANNA WINDFARM ROI LTD | CO LIMERICK, DOON | 2009-02-19 | 100 | 7895 |  |  | N | DG7A | 1.0019 | 0.9959
10304142123 | 141 | 5208 | RAHORA WIND FARM LTD | CO KILKENNY, RAHORA | 2009-04-27 | 45 | 4474 |  |  | N | DG7A | 1.0217 | 1.0157
10000083776 | 142 | 5207 | DUNDALK INSTITUE | DUNDALK, DUBLIN ROAD | Pre-SAP | 1993 | 526 |  |  | N | DG7B | 1.038 | 1.032
10302245544 | 143 | 5210 | LIMERICK COUNTY COUNCIL | LIMERICK, GORTADROMA | 2009-05-29 | 200 | 3368 |  |  | N | DG7 | 1.0169 | 1.0109
10304489031 | 144 | 5211 | Reenascreena Wind Farm Ltd. | CO CORK, ROSSCARBERY | 2009-07-09 | 40 | 4736 |  |  | N | DG7A | 1.0332 | 1.0272
10302419462 | 145 | 5118 | DUNMORE WIND POWER LTD | DUNDALK, DUNMORE | 2006-07-13 | 50 | 4421 | G22A1 | GU_400880 | P | DG7A | 1.0265 | 1.0205
10301087379 | 146 | 5110 | BEARNA GAOITHE TEO | CO WICKLOW, SHILLELAGH | 2005-08-12 | 21 | 4473 | G28A1 | GU_400890 | P | DG7A | 1.0309 | 1.0249
10305162875 | 148 | 5213 | Derrynadivva Windfarm Ltd | CASTLEBAR, RAHEEN BARR | 2009-09-24 | 55 | 8947 |  |  | N | DG9A | 1.0087 | 1.0047
10304210811 | 149 | 5214 | Cronelea Wind Farm Ltd. | CO WICKLOW, SHILLELAGH | 2009-09-30 | 45 | 4737 |  |  | N | DG7A | 1.038 | 1.032
10304278122 | 150 | 5212 | Slievereagh Power Ltd. | CO LIMERICK, KILFINANE | 2009-09-28 | 50 | 3150 | G29A1 | GU_400671 | P | DG7A | 1.0136 | 1.0076
10304138673 | 151 | 5215 | SunFlower Design | CLAREMORRIS, MACE UPPER | 2009-12-22 | 17 | 2684 |  |  | N | DG7A | 1.035 | 1.029
10000082566 | 152 | 5216 | BAILLIEBOROUGH FOODS | BAILIEBOROUGH, SHERCOCK ROAD | Pre-SAP | 4325 | 1053 |  |  | N | DG7B | 1.0286 | 1.0226
10000050263 | 153 | 5217 | ADAM BRIDGE | CO CORK, LACCA CROSS | Pre-SAP | 7500 | 7894 |  |  | N | DG8A | 1.0123 | 1.0083
10304807079 | 154 | 5389 | Tra Investments Ltd. | TRALEE, BALLINCOLLIG HILL | 2010-03-04 | 90 | 15780 | GB9A1 | GU_401000 | P | DG9A | 1.0156 | 1.0116
10305279054 | 155 | 5219 | GREENSTAR | CO MEATH, KENTSTOWN | 2010-02-03 | 110 | 1500 |  |  | N | DG7A | 1.0156 | 1.0096
10304041579 | 156 | 5221 | Shannagh Wind Farm Limited | CO DONEGAL, SHANNAGH | 2010-03-30 | 22 | 2684 |  |  | N | DG7A | 1.0278 | 1.0218
10305324642 | 157 | 5223 | WINDFARM MANAGEMENT LTD | CO DONEGAL, DRUMLOUGHILL | 2010-04-30 | 100 | 10516 |  |  | N | DG9A | 0.98837 | 0.98837
10304612017 | 158 | 5226 | TULLOW MUSHROOM GROWERS LTD | TULLOW, DOWNINGS | 2008-11-07 | 200 | 140 |  |  | N | DG6B | 1.0914 | 1.0754
10019021903 | 159 | 5086 | CUILLALEA WEST WINDFARM LTD | CO MAYO, CUILLALEA WEST | Pre-SAP | 42 | 5253 |  |  | N | DG7A | 1.022 | 1.016
10009896984 | 160 | 5227 | THOMAS COSBY | PORTLAOISE, STRADBALLY | 2004-11-04 | 28 | 32 |  |  | N | DG5A | 1.092 | 1.076
10000050263 | 161 | 5217 | ADAM BRIDGE MANUFACTURING LTD | LACCA CROSS | Pre-SAP | 7500 | 7894 |  |  | N | DG8A | 1.0123 | 1.0083
10301164687 | 162 | 5228 | GREENSTAR LTD | KILLAGHMORE, BALLINASLOE | 2005-12-20 | 110 | 698 |  |  | N | DG7A | 1.038 | 1.032
10301110569 | 163 | 5229 | WESTERN POWER LTD | CASTLEBAR, LENANAVEA | 2005-10-19 | 30 | 2211 |  |  | N | DG7A | 1.0136 | 1.0076
10000056764 | 164 | 5230 | LIMERICK BLOW MOULDING | LIMERICK, PARTEEN | 2005-01-01 | 1050 | 525 |  |  | N | DG7B | 1.038 | 1.032
10305179171 | 165 | 5232 | Arthur Davidson | Agaghadullagh Mill, BALLINTRA, DONEGAL | 2010-09-21 | 25 | 205 |  |  | N | DG6A | 1.0753 | 1.0593
10305354663 | 166 | 5233 | MCDONNELL FARMS BIOGAS LTD | DUNMOYLAN, SHANAGOLDEN, LIMERICK | 2010-09-15 | 225 | 463 |  |  | N | DG6A | 1.0286 | 1.0226
10012466048 | 167 | 5234 | DOMINIC BEHAL | KILMACOW, KILKENNY | 2010-11-30 | 15 | 23 |  |  | N | DG5A | 1.092 | 1.076
10012466031 | 168 | 5235 | BENEDICT BEHAL | KILMACOW, GREENVILLE MILLS, KILKENNY | 2010-12-11 | 48 | 83 |  |  | N | DG5A | 1.092 | 1.076
10011989135 | 169 | 5236 | MS COLETTE BRETT | INCH HYDRO, SION ROAD, KILKENNY | 2010-11-08 | 15 | 42 |  |  | N | DG5A | 1.092 | 1.076
10305389806 | 170 | 5237 | CARRONS WINDFARM LIMITED | SHANAGOLDEN, LIMERICK | 2010-12-18 | 70 | 5252 |  |  | N | DG9A | 1.0129 | 1.0089
10010402558 | 171 | 5238 | MR MICHAEL DWAN | NEWTOWN HOUSE, HOLY CROSS, THURLES | 2010-10-20 | 15 | 235 |  |  | N | DG5A | 1.038 | 1.032
10010168063 | 172 | 5239 | J ALEXANDER | MILFORD, GEN PLANT. CARLOW | 2010-11-11 | 15 | 400 |  |  | N | DG5A | 1.038 | 1.032
10007275173 | 173 | 5240 | BANDON CHARITABLE | BANDON WEIR, COOLFADDA, BANDON | 2010-11-12 | 15 | 83 |  |  | N | DG5A | 1.092 | 1.076
10013265896 | 174 | 5241 | MR NICHOLAS GRUBB | CASTLEGRACE, CLOGHEEN, CAHIR, | 2010-12-14 | 15 | 94 |  |  | N | DG5A | 1.038 | 1.032
10011418570 | 175 | 5242 | LANGAN (SPRINGVALE) LTD | SPRINGVALE, BALLINROBE, MAYO | 2010-11-09 | 15 | 116 |  |  | N | DG5A | 1.092 | 1.076
10010773872 | 176 | 5243 | FUINNEAMH GAOITHE TEO | INDREABHAN WINDFARM, AN CNOC, CO NA GAILLIMHE | 2007-11-01 | 15 | 3474 |  |  | N | DG7A | 0.99301 | 0.98701
10305173417 | 177 | 5244 | Greenstar Ltd | Ballynagran Landfill Phase 2, BALLYNAGRAN, CO WICKLOW | 2011-01-07 | 70 | 780 |  |  | N | DG7A | 0.97863 | 0.97263
10303699457 | 178 | 5245 | IQ Wind Limited | Crocane, CLOYNE, MIDLETON, CORK | 2011-01-27 | 25 | 1789 |  |  | N | DG7A | 1.0253 | 1.0193
10017742180 | 179 | 5113 | CRONALAGHT WINDFARM | GWEEDORE, CO DONEGAL | 2005-01-01 | 65 | 5242 |  |  | N | DG9A | 1.0201 | 1.0161
10004271021 | 180 | 5147 | BIOVERDA POWER SYSTEMS LTD | BALLEALLY 1, LUSK, DUBLIN | Pre-SAP | 172 | 5137 |  |  | N | DG7 | 1.0055 | 0.99946
10304040562 | 182 | 5247 | Seltannaveeny Wind Farm | SELTANNAVEENY, Arigna, CO ROSCOMMON | 2011-03-31 | 65 | 5684 |  |  | N | DG7A | 1.0321 | 1.0261
10021504821 | 183 | 5248 | Keelings Salads | ROSLIN, ST MARGARETS, CO DUBLIN | 2005-01-21 | 1562 | 1789 |  |  | N | DG7 | 1.038 | 1.032
10000050263 | 184 | 5249 | ADAM BRIDGE MANUFACTURING LTD | LACCA CROSS, BALLYDESMOND, CO CORK | 2005-01-01 | 7500 | 7894 |  |  | N | DG8A | 1.0123 | 1.0083
10303983234 | 185 | 5250 | Menard Limited | SKRINE, ATHLEAGUE, CO ROSCOMMON | 2011-04-29 | 35 | 5262 |  |  | N | DG7A | 1.0173 | 1.0113
10305499154 | 186 | 5251 | Ballymartin Wind Farm | Ballymartin Co Kilkenny | 2011-05-03 | 35 | 15031 | GA4A1 | GU_401410 | P | DG7A | 0.96072 | 0.95672
10000019117 | 187 | 5252 | Country Crest Ltd | RATHMOONEY, LUSK, DUBLIN | Pre-SAP | 1000 | 526 |  |  | N | DG7B | 1.038 | 1.032
10304722281 | 188 | 5253 | TULLYNAMOYLE WIND FARM LTD | TULLYNAMOYLE, KILLARGA, CO LEITRIM | 2011-07-06 | 240 | 9474 |  |  | N | DG7A | 0.98771 | 0.98771
10305352574 | 189 | 5254 | CORKERMORE WINDFARM LTD. | KILLYBEGS, DONEGAL | 2011-07-05 | 421 | 15798 |  |  | N | DG9A | 0.99588 | 0.99588
10305265460 | 190 | 5255 | Venti Windfarm Limited | NENAGH, TEMPLEDERRY | 2011-08-24 | 15 | 2568 |  |  | N | DG7A | 1.0014 | 0.99538
10305062816 | 191 | 5256 | B9 Power Limited | TRALEE, MUINGNAMINNANE | 2011-10-11 | 29 | 337 |  |  | N | DG7A | 1.0379 | 1.0319
10304043047 | 192 | 5257 | Redwind Energy Phase 3 Ltd | CO DONEGAL, MEENADREEN | 2011-12-20 | 57 | 3579 |  |  | N | DG7A | 0.99402 | 0.98802
10304667635 | 193 | 5258 | Caher Downey Wind Farm Ltd | MACROOM, CAHERDOWNEY | 2012-04-16 | 200 | 10526 |  |  | N | DG7A | 0.99261 | 0.99261
10304666346 | 194 | 5259 | Clydaghroe Wind Farm Limited | KILLARNEY, CLONKEEN | 2012-04-23 | 20 | 5253 |  |  | N | DG7A | 0.99162 | 0.99162
10008962729 | 195 | 5260 | JOHN HANLY & CO LTD | NENAGH, BALLYARTELLA WOOLLEN MILL | 2004-11-04 | 35 | 23 |  |  | N | DG5B | 1.092 | 1.076
10305279054 | 196 | 5219 | GREENSTAR | CO MEATH, KENTSTOWN | 0 | 110 | 5211 |  |  | N | DG7A | 1.0156 | 1.0096
10305464907 | 197 | 5263 | Ballaman Wind Farm Ltd | CO WEXFORD, GOREY | 2012-09-28 | 25 | 3789 |  |  | N | DG7A | 0.9883 | 0.9883
10305543021 | 198 | 5261 | Cavan County Council | CORRANURE LFG, CAVAN | 2012-08-21 | 150 | 737 |  |  | N | DG7A | 1.0371 | 1.0311
10305043445 | 199 | 5262 | Caherciveen Wind Ltd. | KNOCKANEDEN WIND FARM, CAHERCIVEEN, CO KERRY | 2012-09-13 | 15 | 9474 |  |  | N | DG9A | 1.0374 | 1.0314
10000071968 | 200 | 5264 | ST PATRICKS MISSIONARY SC | KILTEGAN, CO WICKLOW | 2012-09-26 | 63 | 137 |  |  | N | DG6A | 1.092 | 1.076
10305488864 | 201 | 5265 | Templederry Windfarm Limited | CO TIPPERARY, KNOCKMEALE | 2012-11-02 | 700 | 4100 |  |  | N | DG7A | 0.99577 | 0.98977
10002833298 | 202 | 5266 | ESE LTD | LUCAN, HILLS INDUSTRIAL ESTATE | 2012-12-19 | 15 | 122 |  |  | N | DG5A | 1.092 | 1.076
10000001760 | 203 | 5267 | Citibank | DUBLIN 1, NORTH WALL QUAY | 2013-04-01 | 2000 | 2000 |  |  | N | DG7B | 1.038 | 1.032
10305172501 | 204 | 5268 | Sigatoka | CO CORK, LISSARDA | 2013-04-26 | 38 | 9210 |  |  | N | DG7A | 1.0263 | 1.0203
10301430682 | 205 | 5269 | MILLSTREAM HYDRO | ABBEYFEALE, MILLSTREAM | 2012-04-01 | 25 | 93 |  |  | N | DG5 | 1.092 | 1.076
10300384713 | 206 | 5271 | Knocknalour Windfarm (Use for S01 leg) | BUNCLODY, KNOCKNALOUR | 2013-07-17 | 125 | 9421 |  |  | N | DG7A | 0.97364 | 0.97364
10300384713 | 207 | 5271 | Knocknalour Windfarm (Use for S08 leg) | BUNCLODY, KNOCKNALOUR | 2013-07-17 | 125 | 9421 |  |  | N | DG7A | 0.97364 | 0.97364
10304141846 | 208 | 5270 | Ballynancoran Wind Farm Ltd | ENNISCORTHY, FERNS | 2013-07-03 | 60 | 4210 |  |  | N | DG7A | 0.97004 | 0.97004
10304043473 | 209 | 5272 | Inish Wind Limited | Flughland Wind Farm, LIFFORD, QUIGLEYS POINT | 2009-07-08 | 120 | 9684 |  | GU_400800 | P | DG9A | 0.97661 | 0.97661
10304043473 | 209 | 5272 | Inish Wind Limited | LIFFORD, QUIGLEYS POINT | 2013-10-01 | 120 | 9684 |  |  | N | DG7A | 0.97661 | 0.97661
10012737114 | 210 | 5273 | CARRIGBYRNE FARMHOUSE CHEESE CO LTD | CO WEXFORD, ADAMSTOWN | 2013-10-01 | 65 | 105 |  |  | N | DG6A | 1.0844 | 1.0684
10304671406 | 211 | 5274 | PLUCKANES WINDFARM LTD | PLUCKANES, CO CORK | 2013-09-27 | 15 | 895 |  |  | N | DG7A | 1.0373 | 1.0313
10305478663 | 212 | 5275 | BORD NA MONA ENVIRONMENTAL LTD | CARBURY, KILDARE | 2013-10-29 | 180 | 5262 |  |  | N | DG7A | 0.99305 | 0.98705
10305404736 | 213 | 5277 | Holyford Windfarm Ltd | GLENOUGH UPPER, CO TIPPERARY | 2013-12-10 | 220 | 9474 |  |  | N | DG7A | 0.95356 | 0.95356
10305786462 | 214 | 5276 | Ormonde Organics Limited | KILLOWEN, PORTLAW | 2013-11-12 | 50 | 1053 |  |  | N | DG7A | 1.038 | 1.032
10305454289 | 215 | 5278 | Carrickeeny Wind | MANORHAMILTON, LEITRIM | 2014-03-24 | 50 | 8053 |  |  | N | DG7A | 0.99027 | 0.98627
10305715360 | 216 | 5279 | BALLYCURREEN WINDFARM | DUNGARVAN, WATERFORD | 2014-03-26 | 120 | 5253 |  |  | N | DG7A | 1.0149 | 1.0089
10012053195 | 217 | 5280 | ALAN MAHARAJ | BLEACH ROAD, KILKENNY | 2011-04-19 | 15 | 150 |  |  | N | DG5A | 1.092 | 1.076
10014809803 | 218 | 5281 | MEADE POTATO CO LTD | NAVAN, BRAYSTOWN | 2014-06-01 | 600 | 316 |  |  | N | DG6B | 1.092 | 1.076
10304954214 | 219 | 5282 | DUBLIN CITY COUNCIL | DUBLIN 13, FATHER COLLINS PARK | 2014-07-01 | 216 | 263 |  |  | N | DG6A | 1.0782 | 1.0622
10305992640 | 220 | 5286 | Kilbush Nurseries | NORTH HILL, RUSH | 2014-05-26 | 70 | 1684 |  |  | N | DG7A | 1.038 | 1.032
10303460385 | 221 | 5283 | M8 Junction 10 Cahir Wind Turbine | CLOGHABREEDY JUNCTION, CAHIR | 2014-06-15 | 15 | 10 |  |  | N | DG5B | 1.092 | 1.076
10000046526 | 222 | 5284 | DEPUY (IRELAND) | RINGASKIDDY, CO CORK | 2014-07-17 | 3500 | 2632 |  |  | N | DG7A | 1.0376 | 1.0316
10301584370 | 223 | 5285 | JANSSEN BIOLOGICS (IRELAND) | BARNAHELY, CO CORK | 2014-07-15 | 2500 | 2105 |  |  | N | DG7A | 1.0377 | 1.0317
10000088164 | 224 | 5287 | Louis A McCauley Ltd | BLACKLION, CO MEATH | 2014-05-23 | 900 | 316 |  |  | N | DG7A | 1.038 | 1.032
10016178524 | 225 | 5288 | ATHGARVAN GRAIN CO LTD | NEWBRIDGE | 2012-07-04 | 49 | 40 |  |  | N | DG5 | 1.092 | 1.076
10306021152 | 226 | 5289 | Louth Co Co | Whiteriver Landfill, Dunleer | 2014-07-21 | 150 | 1341 |  |  | N | DG7A | 1.027 | 1.021
10305664690 | 227 | 5290 | FAUGHARY WIND FARM LTD | MANORHAMILTON, LEITRIM | 2014-12-17 | 180 | 6316 |  |  | N | DG7A | 0.99367 | 0.98967
10305797121 | 228 | 5291 | DERRINUMERA LANDFILL GAS GENERATION | NEWPORT, MAYO | 2014-10-24 | 7 | 400 |  |  | N | DG5A | 1.0288 | 1.0228
10305173417 | 229 | 5292 | BALLYNAGRAN LANDFILL | BALLYNAGRAN, WICKLOW | 2014-12-11 | 70 | 4491 |  |  | N | DG7A | 0.97863 | 0.97263
10305528433 | 230 | 5293 | James Nally | LISNASCREEN, ATHLONE | 2015-05-01 | 15 | 119 |  |  | N | DG5A | 1.092 | 1.076
10305740007 | 231 | 5294 | Carrownaweelaun Energy Ltd | KILKEE, CLARE | 2015-07-03 | 30 | 4842 |  |  | N | DG7A | 0.98703 | 0.98103
10305256026 | 232 | 5295 | GREEN GENERATION LIMITED | CO KILDARE, NURNEY | 2015-06-25 | 200 | 1121 |  |  | N | DG7A | 1.0285 | 1.0225
10303993532 | 233 | 5296 | Fairbourne Commercial Limited | FERBANE, CO OFFALY | 2015-09-17 | 25 | 4474 |  |  | N | DG7A | 1.0315 | 1.0255
10303983208 | 234 | 5297 | Gallia Commercial Ltd | BALLAGHADEREEN, CO ROSCOMMON | 2015-09-25 | 30 | 3789 |  |  | N | DG7A | 1.0179 | 1.0119
10305984912 | 235 | 5298 | Kinsale (Cork City Council) | KINSALE ROAD, CORK | 2015-11-10 | 225 | 525 |  |  | N | DG7A | 1.038 | 1.032
10306071718 | 236 | 5299 | SCHWUNGRAD ENERGIE LTD | COOLCOR, RHODE, OFFALY | 2015-10-23 | 400 | 422 |  |  | N | DG7A | 1.0378 | 1.0318
10305935304 | 237 | 5304 | Collon Windpower | Collon, Co. Louth | 2016-04-26 | 30 | 3157 |  |  | N | DG7A | 1.0267 | 1.0207
10306144812 | 239 | 5305 | Raheenleagh Power Ltd | Arklow, Wicklow | 2016-08-04 | 230 | 38421 | G96A1 | GU_401940 | P | DG9A | 1.0074 | 1.0034
10305389806 | 240 | 5308 | CARRONS WINDFARM LIMITED | SHANAGOLDEN, LIMERICK | 2016-08-30 | 70 | 5252 |  |  | N | DG9A | 1.0129 | 1.0089
10306213042 | 241 | 5309 | Michael Aylward Windfarm | GLENMORE, BALLINCLARE | 2016-10-01 | 30 | 536 |  |  | N | DG7A | 1.0379 | 1.0319
10305992132 | 242 | 5310 | OLDMILL WIND LIMITED | TULLYNAGEER / CO MONAGHAN | 2016-09-03 | 157 | 16947 | G97A1 | GU_401890 | P | DG9A | 1.0091 | 1.0051
10306076078 | 243 | 5311 | Glencarbry Windfarm | KILNAMANAGH LOWER / CO TIPPERARY | 2016-10-28 | 305 | 34736 | G98A1 | GU_401970 | P | DG9A | 0.98788 | 0.98788
10305510117 | 244 | 5312 | Lisdowney Wind Farm | Kilkenny | 2016-10-24 | 157 | 9684 |  |  | N | DG7A | 1.0066 | 1.0026
10306154601 | 245 | 5313 | Killaveenoge Windfarm | Drinagh, Cork | 2016-12-13 | 200 | 26105 | G99A1 | GU_401950 | P | DG9A | 1.0143 | 1.0103
10306080703 | 246 | 5314 | PORTFINCH LTD | BEALE HILL, BALLYBUNION | 2017-01-03 | 15 | 1368 |  |  | N | DG7A | 0.98677 | 0.98277
10301901949 | 247 | 5315 | TESCO IRELAND LTD | LISSENHALL / DONABATE | 2017-04-01 | 1100 | 525 |  |  | N | DG7B | 1.038 | 1.032
10305651092 | 248 | 5316 | KILMEEDY WINDFARM LTD | BALLINRUANE / CO LIMERICK | 2016-12-22 | 121 | 4947 |  |  | N | DG7A | 1.0173 | 1.0113
10304291444 | 249 | 5317 | Meenacloghspar (Wind) Ltd | CAMOLIN / CO WEXFORD | 2017-01-13 | 30 | 4842 |  |  | N | DG7A | 0.98493 | 0.98493
10013015346 | 250 | 5319 | KWT ENERGY LTD | KILNAGRANGE MILLS / CO WATERFORD | 2017-02-10 | 600 | 516 |  |  | N | DG7B | 1.0288 | 1.0228
10305512331 | 251 | 5320 | Regan Wind Limited | CARROWBEG / MOVILLE / DONEGAL | 2017-03-15 | 559 | 4211 |  |  | N | DG7A | 1.0273 | 1.0213
10305513807 | 252 | 5321 | Metro Energy Designated Activity Company | KILBEREHERT / CHARLEVILLE | 2017-04-14 | 164 | 5052 |  |  | N | DG7A | 1.0222 | 1.0162
10305685447 | 253 | 5322 | LEO BARRY | RACKARDSTOWN / KILMORE / WEXFORD | 2017-04-11 | 49 | 49 |  |  | N | DG5B | 1.092 | 1.076
10000073781 | 254 | 5323 | BALLON MEATS | BALLON / CO CARLOW | 2017-02-06 | 500 | 526 |  |  | N | DG7A | 1.038 | 1.032
10306173776 | 255 | 5324 | TULLABRACK ENERGY LTD | TULLABRACK / KILRUSH | 2017-05-19 | 293 | 14526 | G89A1 | GU_402050 | P | DG9A | 1.0208 | 1.0168
10019109945 | 256 | 5325 | JAMES OSBOURNE | GOREY BUSINESS PARK / GOREY | 2017-05-18 | 15 | 164 |  |  | N | DG5A | 1.092 | 1.076
10306412401 | 257 | 5326 | Cappawhite Wind Limited | CAPPAGH / CO TIPPERARY | 2017-06-23 | 420 | 54737 | G65A1 | GU_402150 | P | DG9A | 0.98967 | 0.98967
10306169137 | 258 | 5327 | BALLYBAY WIND FARM LTD | BALLYBEAGH / TULLAROAN /KILKENNY | 2017-07-25 | 293 | 14526 | G64A1 | GU_402140 | P | DG7A | 0.99489 | 0.99089
10306169933 | 259 | 5328 | An Cnoc Windfarm | BAWNLEA / THURLES | 2017-09-26 | 150 | 12105 | G81A1 | GU_401670 | P | DG7A | 0.98536 | 0.98136
10306053966 | 260 | 5329 | Tullynamoyle 3 | TULLYNAMOYLE, KILLARGA, CO LEITRIM | 2017-10-10 | 293 | 12611 | G62A1 | GU_402200 | P | DG7A | 0.98311 | 0.98311
10305831163 | 261 | 5330 | Gurteen Windfarm | Knockatooreen, Grange, Thurles, Co Tipperary | 2017-08-22 | 30 | 2421 |  |  | N | DG7A | 1.0247 | 1.0187
10306178647 | 262 | 5331 | Foyle Windfarm | FOYLATALURE / CO KILKENNY | 2017-07-25 | 207 | 10105 |  |  | N | DG7A | 0.98244 | 0.97844
10300546990 | 263 | 5332 | Killin Hill | KILLIN HILL/KILLYBEGS/Donegal | 2017-06-22 | 19 | 6316 |  |  | N | DG9A | 0.9953 | 0.9953
10306371993 | 264 | 5333 | Castlepook Windfarm | CO CORK, CASTLEPOOK | 2017-11-22 | 350 | 34842 | G61A1 | GU_402190 | P | DG9A | 0.98576 | 0.98576
10306311810 | 265 | 5334 | Tullynamoyle 2 | TULLYNAMOYLE, KILLARGA, CO LEITRIM | 2017-11-17 | 250 | 10763 | G59A1 | GU_402160 | P | DG7A | 0.98657 | 0.98657
10305514014 | 266 | 5335 | Knocknattalig Windfarm | CHARLEVILLE, BALLYHAY | 2019-10-02 | 394 | 19263 | G57A2 | GU_403930 | P | DG9A | 0.98817 | 0.98817
10304778237 | 267 | 5336 | Coollegreen Windfarm | CO KERRY, BROSNA | 2019-10-02 | 450 | 19474 | G58A2 | GU_403920 | P | DG9A | 0.99346 | 0.99346
10000081519 | 268 | 5337 | Tierney Farms | CO WATERFORD, CAHERBRACK | 2017-11-27 | 158 | 157 |  |  | N | DG6B | 1.092 | 1.076
10000082532 | 269 | 5338 | LIFFEY ENERGY LIMITED | KILQUILLY / CO CAVAN | 2017-12-11 | 2750 | 3176 |  |  | N | DG7A | 1.038 | 1.032
10305885248 | 270 | 5339 | Glanaruddery Windfarm 1 | CASTLEISLAND, KNOCKNAGASHEL | 2017-12-13 | 60 | 21053 | G52A1 | GU_402230 | P | DG7A | 0.99116 | 0.99116
10305949607 | 271 | 5340 | Glanaruddery Windfarm 2 | TRALEE, KNOCKNAGOSHEL | 2017-12-13 | 773 | 12632 | G53A1 | GU_402240 | P | DG7A | 0.99003 | 0.99003
10305512442 | 272 | 5341 | Leanamore | CO KERRY, LEANAMORE | 2017-12-13 | 180 | 18947 | G43A1 | GU_402210 | P | DG7A | 0.98442 | 0.98442
10305349443 | 273 | 5342 | Scartaglen Windfarm Gate 2 | Barna, Co Kerry | 2017-12-13 | 508 | 25210 | G47A1 | GU_402250 | P | DG9A | 0.98632 | 0.98632
10305349443 | 274 | 5342 | Scartaglen Windfarm Gate 3 | Barna, Co Kerry | 2017-12-13 | 508 | 3800 | G47A2 | GU_402260 | P | DG9A | 0.98632 | 0.98632
10305499326 | 275 | 5343 | Curraghderrig Wind Limited | CURRAGHDERRIG / CO KERRY | 2017-12-14 | 60 | 4737 |  |  | N | DG7A | 0.98427 | 0.98027
10305740514 | 276 | 5344 | MEENAWARD WIND FARM | SHANDRIM / INISHOWEN / DONEGAL | 2017-12-05 | 100 | 7263 |  |  | N | DG9A | 0.98656 | 0.98656
10306120559 | 277 | 5345 | TEEVURCHER LIMITED | TEEVURCHER / KELLS / MEATH | 2017-12-18 | 250 | 9474 |  |  | N | DG7A | 1.0008 | 0.99681
10306376217 | 278 | 5346 | Connaught Power | TUAM / CO GALWAY | 2018-01-26 | 50 | 4474 |  |  | N | DG7A | 1.0314 | 1.0254
10306335983 | 279 | 5347 | MEENWAUN WIND FARM | BANAGHER / CO OFFALY | 2018-02-13 | 100 | 10516 |  |  | N | DG7A | 1.0059 | 1.0019
10305858782 | 280 | 5348 | BALLAGH WINDFARM | BALLAGH / CO LIMERICK | 2018-02-18 | 180 | 4842 |  |  | N | DG7A | 0.98778 | 0.98178
10306100528 | 281 | 5349 | GORTNACLOGHY WIND FARM | BALLAGH / CO LIMERICK | 2018-02-20 | 25 | 4632 |  |  | N | DG7A | 0.99191 | 0.98591
10016897158 | 282 | 5350 | GRADY WINDOW MANUFACTURERS LTD | BRACKLOONAGH SOUTH / CO MAYO | 2018-04-23 | 1500 | 2632 |  |  | N | DG7A | 1.0123 | 1.0063
10306519464 | 283 | 5351 | Cappawhite B Wind Limited | Co TIPPERARY | 2018-06-22 | 170 | 13874 | G21A1 | GU_402340 | P | DG9A | 0.99037 | 0.99037
10305901779 | 284 | 5352 | Cloghaneleskirt Wind Farm | Co. Kerry | 2018-04-27 | 150 | 13211 | G11A1 | GU_402280 | P | DG7A | 0.9825 | 0.9825
10306269465 | 285 | 5353 | Carrickallen Windfarm | Cootehill, Co Cavan | 2018-10-17 | 465 | 23158 | G09A1 | GU_402220 | P | DG9A | 1.0057 | 1.0017
10305503312 | 286 | 5354 | B&R Wind Limited | FREEMOUNT / CHARLEVILLE | 2018-07-09 | 136 | 4684 |  |  | N | DG7A | 1.0377 | 1.0317
10306343986 | 287 | 5355 | DROMADDA BEG WIND FARM LTD | DROMADDA BEG / LISTOWEL | 2018-08-30 | 60 | 10526 |  |  | N | DG7A | 0.99404 | 0.99404
10306646894 | 288 | 5356 | ERAS ECO LTD | FOXHOLE, YOUGHAL, CO CORK | 2018-08-10 | 225 | 1789 |  |  | N | DG7A | 1.038 | 1.032
10306799466 | 289 | 5357 | Rockbrook AD | ROCKBROOK / PORTLAOISE | 2018-10-26 | 245 | 525 |  |  | N | DG6A | 1.0826 | 1.0666
10305461732 | 290 | 5358 | PWWP DEVELOPEMENTS LTD | MAGHERAMORE / CLAREMORRIS | 2018-12-12 | 125 | 42947 | G07A1 | GU_403400 | P | DG9A | 0.99271 | 0.99271
10305615064 | 291 | 5359 | KILBRANISH WIND FARM | KILBRANISH / ENNISCORTHY | 2018-10-11 | 65 | 2632 |  |  | N | DG7A | 0.99101 | 0.98701
10306218501 | 292 | 5381 | BALLYCUMBER WIND FARM | TINAHELY / WICKLOW | 2018-03-21 | 295 | 18947 | GB3A1 | GU_402350 | P | DG9A | 1.0118 | 1.0078
10306218562 | 293 | 5360 | Corvin Wind Ltd | Sheeragh, Meenkeragh, Sorne Hill, Buncrana | 2019-01-15 | 50 | 2211 |  |  | N | DG7A | 0.98996 | 0.98996
10306235833 | 294 | 5361 | Corvin Wind Ltd | MEENKEERAGH HILL / BUNCRANA | 2019-01-28 | 50 | 526 |  |  | N | DG7A | 0.98847 | 0.98847
10304862192 | 295 | 5364 | KNOCKNAGOUM WINDFARM LTD | LYRECROMPANE, LISTOWEL, KERRY | 2013-09-09 | 275 | 46684 | G03A1 | GU_401350 | P | DG9A | 0.99561 | 0.99561
10301826346 | 296 | 5365 | BEAM WIND LTD | BUNCRANA, BEAM HILL | 2006-02-02 | 300 | 14737 | G02A3 | GU_404560 | P | DG9A | 0.98845 | 0.98845
10305833862 | 297 | 5366 | BRUCKANA WIND FARM LTD | TEMPLETOUHY, THURLES | 2013-07-09 | 500 | 41684 | G06A1 | GU_401700 | P | DG9A | 0.98918 | 0.98918
10304128570 | 298 | 5367 | Ballybane Windfarms Ltd | LAHADANE, BANTRY, CORK | 2008-07-10 | 130 | 29421 | GA3A1 | GU_402010 | P | DG9A | 1.0031 | 0.99912
10304845565 | 299 | 5370 | Carraigcannon Wind Farm Ltd | MALLOW, RATHCOOLE | 2011-06-21 | 240 | 21053 | GA1A1 | GU_401070 | P | DG9A | 0.99459 | 0.99459
10305497924 | 300 | 5371 | Barnafaddock Wind Farm | Ballyduff Co Waterford | 2015-05-01 | 160 | 34105 | GA0A1 | GU_401810 | P | DG9A | 1.0075 | 1.0035
10303472419 | 301 | 5372 | MUINGNAMINNANE WINDFARMS LTD | TRALEE, MUINGNAMINNANE | 2008-05-22 | 108 | 16105 | GA7A1 | GU_400960 | P | DG9A | 0.99316 | 0.99316
10304128570 | 302 | 5368 | Ballybane Windfarms Ltd | LAHADANE, BANTRY, CORK | 2008-07-10 | 130 | 29421 | GA3A2 | GU_400650 | P | DG9A | 1.0031 | 0.99912
10304128570 | 303 | 5369 | Ballybane Windfarms Ltd | LAHADANE, BANTRY, CORK | 2008-07-10 | 130 | 29421 | GA3A3 | GU_401790 | P | DG9A | 1.0031 | 0.99912
10305511499 | 304 | 5374 | BALLYCADDEN WIND FARM LTD | BUNCLODY, WEXFORD | 2012-10-09 | 200 | 27316 | GA5A1 | GU_401290 | P | DG7A | 0.9789 | 0.9789
10305511499 | 305 | 5375 | BALLYCADDEN WIND FARM LTD | BUNCLODY, WEXFORD | 2012-10-09 | 200 | 27316 | GA5A2 | GU_401290 | P | DG7A | 0.9789 | 0.9789
10305499154 | 306 | 5251 | Ballymartin Wind Farm Phase 2 | Ballymartin Co Kilkenny | 2013-08-27 | 35 | 15031 | GA4A2 | GU_401760 | P | DG7A | 0.96072 | 0.95672
10307382312 | 307 | 5373 | REI WIND DEVELOPMENTS | HOLLYFORD, TURRAHEEN UPPER | 2018-10-19 | 50 | 521 |  |  | N | DG7A | 1.0347 | 1.0287
10305339002 | 308 | 5376 | BAWNMORE WIND FARM LTD. | CO CORK, CAHERNAFULLA | 2011-10-14 | 123 | 25263 | GA8A1 | GU_401150 | P | DG9A | 1.0155 | 1.0115
10304141368 | 309 | 5377 | POWERCON WIND ENERGY LTD | Bunniconlon, Carrowleagh | 2012-06-07 | 390 | 35950 | GA9A1 | GU_401280 | P | DG9A | 0.98735 | 0.98735
10304141777 | 310 | 5378 | Gibbet Hill Wind Farm | BUNCLODY, WEXFORD | 2013-02-08 | 293 | 15578 | GB0A1 | GU_401340 | P | DG7A | 0.98226 | 0.98226
10304642625 | 311 | 5379 | REIRK ENERGY LTD | CO LIMERICK, DROMDEEVEEN | 2011-08-31 | 720 | 28421 | GB1A1 | GU_401240 | P | DG9A | 1.0104 | 1.0064
10305321131 | 312 | 5380 | Garracummer Wind Farm Ltd | GARRACUMMER, TIPPERARY | 2012-12-17 | 430 | 38842 | GB2A1 | GU_401740 | P | DG9A | 0.97918 | 0.97918
10303477874 | 313 | 5382 | Indaver Ireland | DULEEK, CARRANSTOWN | 2011-02-25 | 3000 | 17895 | GB4A1 | GU_401230 | P | DG9A | 1.0178 | 1.0138
10303497327 | 314 | 5383 | SWS KNOCKAWARRIGA WINDFARM LTD | CO LIMERICK, KNOCKAWARRIGA | 2008-04-11 | 50 | 23684 | GB5A1 | GU_400630 | P | DG9A | 0.97722 | 0.97722
10304499708 | 315 | 5384 | Hibernian Wind Power Ltd. | CO LIMERICK, Grouse Lodge | 2011-04-10 | 70 | 15789 | GB6A1 | GU_401090 | P | DG9A | 1.0132 | 1.0092
10304143347 | 316 | 5385 | GORTAHILE WIND FARM LTD | CO LAOIS, GORTAHILE | 2010-06-21 | 140 | 22105 | GB7A1 | GU_401060 | P | DG9A | 1.0167 | 1.0127
10306463565 | 317 | 5386 | WED CASTLE LIMITED | TULLYNAMALRA / CASTLEBLAYNEY | 2019-04-15 | 60 | 2777 |  |  | N | DG7A | 1.0371 | 1.0311
10011880422 | 318 | 5387 | CYCAD INVESTMENT CORPORATION | COOLMORE / THOMASTOWN | 2018-10-11 | 49 | 47 |  |  | N | DG5B | 1.092 | 1.076
10304149671 | 319 | 5388 | GLENOUGH WINDFARM LTD | CO TIPPERARY, GLENOUGH | 2011-08-23 | 75 | 34737 | GB8A1 | GU_401250 | P | DG9A | 0.98111 | 0.98111
10305783021 | 320 | 5390 | Coir Na Gaoithe Teoranta | Leitir Guingaid & Doire Chrith 14MW WF, FURBO, CO GALWAY | 2014-02-07 | 300 | 43053 | GC0A1 | GU_401500 | P | DG9A | 1.0127 | 1.0087
10300547102 | 321 | 5391 | AIROSHIN WIND ENERGY LTD | KILLYBEGS, MEENACHULLALAN WINDFARM | 2008-03-11 | 15 | 12526 | GC1A1 | GU_400610 | P | DG9A | 1.0146 | 1.0106
10305911669 | 322 | 5392 | Monaincha Wind Farm Ltd | ROSCREA, TIPPERARY | 2014-02-05 | 275 | 37842 | GC2A1 | GU_401540 | P | DG9A | 1.0063 | 1.0023
10304722601 | 323 | 5393 | RATHCAHILL WINDFARM | CO LIMERICK, RATHCAHILL WEST | 2011-05-03 | 100 | 13158 | GC3A1 | GU_401080 | P | DG9A | 1.0147 | 1.0107
10300384904 | 324 | 5394 | RICHFIELD WINDFARM | CO WEXFORD, RICHFIELD | 2006-08-21 | 758 | 28421 | GC4A1 | GU_400080 | P | DG9A | 0.99343 | 0.98943
10301009313 | 325 | 5395 | Sorne Wind Ltd | BUNCRANA, SORNE | 2006-07-14 | 90 | 40947 | GC5A1 | GU_400550 | P | DG10 | 0.9975 | 0.9975
10305479041 | 326 | 5396 | Spadden Wind Farm | Acres Co Donegal | 2015-05-23 | 500 | 18421 | GC6A1 | GU_401820 | P | DG9A | 1.0189 | 1.0149
10305094350 | 327 | 5398 | Dublin Waste To Energy | Poolbeg Peninsula, Dublin | 2017-10-13 | 9012 | 72000 | GC8A1 | GU_402030 | P | DG10 | 0.99956 | 0.99956
10306229376 | 328 | 5399 | HUNTSTOWN BIOENERGY LTD | NORTH ROAD / DUBLIN 11 | 2019-04-25 | 800 | 4210 |  |  | N | DG7A | 1.0335 | 1.0275
10305466382 | 329 | 5400 | KILLALA COMMUNITY WIND FARM DAC | KILLALA / BALLINA | 2019-06-11 | 465 | 20211 | GC9A1 | GU_403750 | P | DG9A | 0.99514 | 0.99514
10306252217 | 330 | 5401 | BALLINCURRY WIND FARM LTD | BALLINCURRY / CO TIPPERARY | 2019-05-31 | 60 | 4842 |  |  | N | DG7A | 1.011 | 1.005
10307382502 | 331 | 5402 | GORTNAHALLA WIND FARM LIMITED | GORTNAHALLA / THURLES | 2019-07-05 | 50 | 525 |  |  | N | DG7A | 1.038 | 1.032
10304141368 | 332 | 5377 | Carrowleagh Windfarm | Carrowleagh / Bunniconlon | 2019-06-14 |  |  |  |  | N |  | 0.98735 | 0.98735
10305485175 | 333 | 5403 | CUMHACHT AN TIGH SHOLAIS TEORANTA | ROSSAVEEL / CO GALWAY | 2019-06-28 | 20 | 3158 |  |  | N | DG7A | 1.0324 | 1.0264
10307029457 | 334 | 5404 | Boolynaglaragh | Ennis, Co Clare | 2019-08-28 | 720 | 38926 | GD0A1 | GU_403770 | P | DG9A | 0.97175 | 0.97175
10305312495 | 335 | 5405 | Sorrell Island | Ennis, Co Clare | 2019-08-28 | 700 | 31579 | GD1A1 | GU_403800 | P | DG9A | 0.99498 | 0.99498
10306099138 | 336 | 5406 | Timoleague Agri | Barryshall, Bandon, Co Cork | 2019-05-21 | 200 | 1158 |  |  | N | DG7A | 1.0374 | 1.0314
10307699990 | 337 | 5407 | Cleanreath Windfarm | Macroom, Cork |  | 200 | 44884 | GD2A1 | GU_403810 | P | DG9A | 0.99015 | 0.99015
10305853986 | 338 | 5408 | GWEEDORE WIND FARM | CRONALAGHT / GWEEDORE/CO DONEGAL | 2019-08-29 | 295 | 18905 | GD3A1 | GU_403840 | P | DG9A | 0.99379 | 0.98979
10304140954 | 339 | 5409 | Glenree Feeding Station | DRUMSHEEN/CO MAYO |  | 440 | 29474 | GD4A1 | GU_403880 | P | DG9A | 0.996 | 0.996
10305312182 | 340 | 5410 | Seahound Wind Developments | LISSEYCASEY / CO CLARE | 2019-11-06 | 128 | 14104 | GD5A1 | GU_403950 | P | DG9A | 0.99597 | 0.99597
10305716552 | 341 | 5411 | Cork Green Energy | CLONDROHID / MACROOM | 2019-09-04 | 381 | 1263 |  |  | N | DG7A | 1.0333 | 1.0273
10307768457 | 342 | 5412 | Raragh Windfarm | MARAHILL / KINGSCOURT | 2019-12-18 | 250 | 12105 | GD6A1 | GU_403970 | P | DG7A | 1.0115 | 1.0075
10306990826 | 343 | 5413 | Mauricetown Windfarm | BALLAGH, GLENDUFF |  | 204 | 14526 | GD7A1 | GU_403980 | P | DG9A | 0.97953 | 0.97953
10305361319 | 344 | 5414 | Recycled Products Ltd | CAVANAWEERY / CO DONEGAL | 2019-09-27 | 180 | 463 |  |  | N | DG6A | 1.036 | 1.03
10306553431 | 345 | 5415 | BIOCORE ENVIRONMENTAL AD1 LIMITED | BALLAGHADEREEN / CO ROSCOMMON | 2019-09-29 | 150 | 1579 |  |  | N | DG7A | 1.0199 | 1.0139
10306553431 | 346 | 5415 | BIOCORE ENVIRONMENTAL AD1 LIMITED | BALLAGHADEREEN / CO ROSCOMMON | 2019-09-29 | 150 | 1579 |  |  | N | DG7A | 1.0199 | 1.0139
10306551152 | 347 | 5416 | Black Lough Windfarm Limited | DROMORE WEST, CO SLIGO | 2020-01-22 | 250 | 13158 | GD8A1 | GU_403990 | P | DG7A | 0.96701 | 0.96701
10305503353 | 348 | 5417 | B&R Wind Limited | RATHNACALLY / CHARLEVILLE | 2019-12-05 | 136 | 4684 |  |  | N | DG7A | 1.0338 | 1.0278
10306177852 | 349 | 5420 | DERRYSALLAGH WINDFARM | DERRYSALLAGH / BOYLE | 2019-11-29 | 500 | 35789 | GD9A1 | GU_403820 | P | DG9A | 0.98962 | 0.98962
10305312403 | 350 | 5423 | Kiltumper Wind Farm | KILTUMPER / CO CLARE | 2019-12-19 | 48 | 5253 |  |  | N | DG7A | 0.97592 | 0.97592
10303497327 | 351 | 5383 | Knockawarriga Windfarm 2 | KNOCKAWARRIGA / CO LIMERICK | 2020-02-19 | 50 | 30632 | GE1A1 | GU_404290 | P | DG9A | 0.97722 | 0.97722
10306035827 | 352 | 5421 | CLOGHERAVADDY WIND FARM | CLOGHERAVADDY / CO DONEGAL | 2019-12-03 | 120 | 9684 |  |  | N | DG7A | 0.99586 | 0.99586
10305162875 | 353 | 5213 | Derrynadivva Windfarm Limited | RAHEEN BARR / CASTLEBAR |  | 70 | 16105 |  |  | N | DG9A | 1.0087 | 1.0047
10306132397 | 354 | 5422 | Mid Clare Renewables | CAHERMURPHY / CO CLARE | 2020-01-15 | 15 | 6316 |  |  | N | DG7A | 0.97592 | 0.97592
10000056454 | 355 | 5424 | THE FALLS HOTEL LIMITED | ENNISTYMON / CO CLARE | 2020-01-14 | 320 | 237 |  |  | N | DG6B | 1.0269 | 1.0209
10306308693 | 356 | 5425 | Ballynultagh Windfarm | BALLYNULTAGH / SHILLELAGH | 2020-03-13 | 50 | 525 |  |  | N | DG7A | 1.0299 | 1.0239
10306293101 | 357 | 5426 | KILACLUG HYDRO SCHEME LTD | MACROOM / CO CORK | 2020-01-10 | 30 | 347 |  |  | N | DG5A | 1.0267 | 1.0207
10305495623 | 358 | 5427 | GUS RUDDY ALT TURBINES CO. LTD | BELMULLET / CO MAYO | 2019-12-18 | 25 | 2684 |  |  | N | DG7A | 1.0331 | 1.0271
10304841432 | 359 | 5428 | Three Trees Wind Project Ltd | GLACKMORE / CO DONEGAL | 2020-03-12 | 37 | 4474 |  |  | N | DG7A | 0.97414 | 0.97414
10304040543 | 360 | 5429 | Enros Wind Farm Ltd | BUNCRANA / CO DONEGAL | 2020-03-20 | 30 | 2421 |  |  | N | DG7A | 0.96654 | 0.96654
10307769288 | 361 | 5430 | Esk Windfarm | Esk/ Co Cork | 2020-11-11 | 750 | 25000 | GE2A1 | GU_404340 | P | DG9A | 0.9916 | 0.9916
10305312495 | 362 | 5405 | Clare Winds Ltd | GLENMORE / CO CLARE | 2020-11-18 | 700 | 33684 | GD1A2 | GU_404480 | P | DG9A | 0.99498 | 0.99498
10306083249 | 363 | 5431 | WIND POWER CONSULTANTS LTD | CARHOOEARAGH / MOYVANE | 2019-12-10 | 30 | 525 |  |  | N | DG5A | 1.0283 | 1.0223
10306939950 | 364 | 5432 | KILPATRICK WIND LTD. | KILPATRICK / BANDON | 2020-01-30 | 30 | 525 |  |  | N | DG7A | 1.0371 | 1.0311
Note on A65: Plunkett. Keith (ESB Networks): From David Killian - With respect to MPRN 10000041412, this generator and site no longer exists. Cork Co. Co. have removed the Whimpy / Greenstar assets off their site, and Cork Co. Co. have set up their own generator on the same site – named KRLF Landfill Gas Utilisation. The MPRN for the latter is 10305984912.
Note on I289: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: G02A2 GU_403780 End Date 30/8/21