## Sheet1
MPRN | Subpod | EXPORT ARRANGEMENT ID | DLAF PROFILE NUMBER | NAME | ADDRESS | MIC (kVA) | MEC (kVA) | GUID | PARTICIPANT/NON-PARTICIPANT | DG GROUP | Day DLAF | Night DLAF
10021247107 | 30001 | 0001 | 5078 | ARKLOW ENERGY LTD | ARKLOW, NORTH QUAY | 15 | 26526 | GU_401020 | P | DG9A | 1.017 | 1.013
10013448097 | 30002 | 0002 | 5079 | HIBERNIAN WIND POWER LTD | CO WEXFORD, CARNSOR | 50 | 11900 | GU_400470 | P | DG9A | 1.014 | 1.01
10300081614 | 30003 | 0003 | 5080 | Gartnaneane Windfarm Limited | BAILIEBOROUGH, GARTANEANE | 130 | 11052 | GU_400041 | P | DG9A | 1.011 | 1.007
10025763688 | 30004 | 0004 | 5081 | KILRUSH ENERGY LTD | KILRUSH, MOANMORE | 30 | 13548 | GU_400970 | P | DG9A | 1.021 | 1.017
10020484406 | 30005 | 0005 | 5082 | MATRIX ENERGY | CASTLEBAR, RAHEEN BARR | 200 | 19684 | GU_403740 | P | DG9A | 1.009 | 1.005
10017038211 | 30007 | 0007 | 5083 | Dedondo Ltd | LETTERKENNY, CLOGHAN | 90 | 12505 | GU_400030 | P | DG9A | 0.987 | 0.983
10302123092 | 30009 | 0009 | 5084 | Taurbeg Wind Farm | Taurmore Newmarket | 300 | 27368 | GU_404990 | P | DG9A | 1.007 | 1.003
10021995380 | 30010 | 0010 | 5097 | GREENSTAR LIMITED | KILL, ARTHURSTOWN | 520 | 4462 | GU_400570 | P | DG9A | 0.964 | 0.96
10300089101 | 30011 | 0011 | 5085 | Gartnaneane Windfarm Limited | BAILIEBOROUGH, GARTNANEANE | 50 | 4736 |  | N | DG7A | 1.006 | 1.002
10019021903 | 30012 | 0012 | 5086 | CUILLALEA WEST WINDFARM LTD | CO MAYO, CUILLALEA WEST | 100 | 3579 |  | N | DG7A | 1.021 | 1.015
10300495787 | 30013 | 0013 | 5087 | Coomatallin Windfarm Limited | CO CORK, COOMATALLIN | 30 | 6400 |  | N | DG7A | 1.02 | 1.014
10300553154 | 30014 | 0014 | 5088 | GREENOGUE WINDFARM LTD | ENNISCORTHY, BUNCLODY | 120 | 5253 |  | N | DG7A | 0.991 | 0.987
10019021903 | 30016 | 0016 | 5086 | CUILLALEA WEST WINDFARM LTD | CO MAYO, CUILLALEA WEST | 100 | 3579 |  | N | DG7A | 1.021 | 1.015
10300495787 | 30017 | 0017 | 5087 | Coomatallin Windfarm Limited | CO CORK, COOMATALLIN | 30 | 6400 |  | N | DG7A | 1.02 | 1.014
10300553154 | 30018 | 0018 | 5088 | GREENOGUE WINDFARM LTD | ENNISCORTHY, BUNCLODY | 95 | 5365 |  | N | DG7A | 0.991 | 0.987
10302011012 | 30019 | 0019 | 5092 | TOURNAFULLA WINDFARM (ROI) LTD | CO LIMERICK, TOURNAFULLA WINDFARM | 30 | 7894 |  | N | DG9A | 1.019 | 1.015
10017808720 | 30020 | 0020 | 5093 | C.R.E.ENERGY LTD | CO DONEGAL, BARNESMORE | 33 | 15789 | GU_404450 | P | DG7A | 1.021 | 1.017
10017074225 | 30021 | 0021 | 5094 | CARK LTD | LETTERKENNY, CARK | 54 | 15789 | GU_403900 | P | DG9A | 0.989 | 0.985
10018741561 | 30022 | 0022 | 5095 | TURSILLAGH 1 LTD | TRALEE, TURSILLAGH | 100 | 15000 | GU_403830 | P | DG9A | 1.015 | 1.011
10021995380 | 30023 | 0023 | 5097 | GREENSTAR LIMITED | KILL, ARTHURSTOWN | 520 | 4462 | GU_400570 | P | DG9A | 0.964 | 0.96
10300460726 | 30024 | 0024 | 5098 | MONEENATIEVE WINDFARM LTD | CARRICK-ON-SHANNON, ARIGNA | 47 | 8225 |  | N | DG7A | 0.951 | 0.951
10000070875 | 30025 | 0025 | 5099 | GLANBIA INGREDIENTS LTD | CO KILKENNY, BALLYCONRA | 13700 | 7500 |  | N | DG8B | 1.021 | 1.017
10019137781 | 30026 | 0026 | 5100 | PORTFINCH LTD | BALLYBUNION, BEALE | 20 | 2684 |  | N | DG7A | 0.987 | 0.983
10000016775 | 30027 | 0027 | 5101 | Dublin City Council | DUBLIN 8, WOOD QUAY | 1150 | 970 |  | N | DG7B | 1.037 | 1.031
10000050068 | 30028 | 0028 | 5102 | MILLIPORE IRELAND BV | CARRIGTWOHILL, TULLAGREEN | 5500 | 0 |  | N | DG7 | 1.036 | 1.03
10000084180 | 30029 | 0029 | 5103 | LAKELAND DAIRIES CO OP | CO MONAGHAN, LOUGH EIGISH | 3200 | 1500 |  | N | DG7B | 1.037 | 1.031
10000048780 | 30030 | 0030 | 5104 | FMC INTERNATIONAL | CO CORK, LITTLE ISLAND | 2400 | 2000 |  | N | DG7B | 1.037 | 1.031
10300533439 | 30031 | 0031 | 5105 | JAROMA WINDFARM LTD | CO TIPPERARY, TOOMEVARA | 15 | 2742 |  | N | DG7A | 1.02 | 1.014
10300850722 | 30032 | 0032 | 5106 | WATERFERN LTD. | CO LEITRIM, ARIGNA | 15 | 7312 |  | N | DG7A | 0.969 | 0.969
10300467945 | 30033 | 0033 | 5107 | Greenstar Gas Energy Limited | KILCULLEN, BROWNSTOWN | 100 | 3963 |  | N | DG7A | 1.011 | 1.005
10300509275 | 30034 | 0034 | 5108 | NORTH TIPPERARY WINDPOWER LTD | NENAGH, BALLINVENY | 50 | 2684 |  | N | DG7A | 1.003 | 0.997
10301238742 | 30035 | 0035 | 5109 | FRAMORE LTD MUKDAR | CO CORK, CURRAGLASS | 100 | 8948 |  | N | DG9A | 1.013 | 1.009
10301087379 | 30036 | 0036 | 5110 | BEARNA GAOITHE TEO | CO WICKLOW, SHILLELAGH | 21 | 4473 |  | N | DG7A | 1.03 | 1.024
10022084017 | 30037 | 0037 | 5111 | AEOLUS ENERGY LTD | NENAGH, CURRAGHGRAIGUE | 15 | 2685 |  | N | DG7A | 0.983 | 0.979
10302461339 | 30038 | 0038 | 5112 | ORLIVEN LTD. | CO LEITRIM, ARIGNA | 15 | 3656 |  | N | DG7A | 0.968 | 0.968
10017742180 | 30039 | 0039 | 5113 | GINEADOIRI GAOITHE TEO | CO DONEGAL, GWEEDORE | 65 | 5242 |  | N | DG9A | 1.02 | 1.016
10020227946 | 30040 | 0040 | 5114 | Ganderoy Limited | CO CAVAN, BALLYCONNELL | 130 | 3158 |  | N | DG7A | 1.031 | 1.025
10000045765 | 30041 | 0041 | 5115 | CM POWER | CO CORK, BALLINEEN | 6250 | 6320 |  | N | DG8A | 1.021 | 1.017
10301155154 | 30042 | 0042 | 5116 | GUESTVOY LTD | CO SLIGO, GEEVAGH | 316 | 5211 |  | N | DG7A | 0.969 | 0.969
10021161404 | 30043 | 0043 | 5117 | INDEPENDENT BIOMASS | CO CORK, ENNISKEANE | 2300 | 2880 |  | N | DG7B | 1.036 | 1.03
10302419462 | 30044 | 0044 | 5118 | DUNMORE WIND POWER LTD | DUNDALK, DUNMORE | 50 | 4421 |  | N | DG7A | 1.026 | 1.02
10000001775 | 30045 | 0045 | 5119 | COMBINED ENERGY SOLUTIONS | DUBLIN 1, NORTH WALL QUAY | 500 | 1000 |  | N | DG6 | 1.037 | 1.031
10301162569 | 30046 | 0046 | 5120 | GNEEVES WINDFARM LTD | CO CORK, MILLSTREET | 15 | 9842 |  | N | DG9A | 0.979 | 0.975
10302403799 | 30047 | 0047 | 5121 | KILVINANE WINDFARM LTD | DUNMANWAY, KILVINANE | 15 | 4737 |  | N | DG7A | 1.02 | 1.014
10021281793 | 30048 | 0048 | 5122 | CORR NA GAOITHE | LOUGHREA, SONNAGH OLD WINDFARM | 50 | 8053 |  | N | DG9A | 1.007 | 1.003
10016690052 | 30049 | 0049 | 5123 | LARGAN HILL WINDFARM LTD | BALLAGHADERREEN, LARGAN | 54 | 6253 |  | N | DG9A | 1.017 | 1.013
10019136550 | 30050 | 0050 | 5124 | ARRAKIS LTD | CO DONEGAL, MEENADREEN | 50 | 3579 |  | N | DG7A | 1.02 | 1.014
10301238754 | 30051 | 0051 | 5125 | CARRIG WINDFARM LTD | BIRR, LACKA | 39 | 2684 |  | N | DG7A | 1.01 | 1.004
10302403964 | 30052 | 0052 | 5126 | LAHANAGHT HILL WINDFARM LTD | CO CORK, LAHANAGHT | 80 | 4474 |  | N | DG7A | 1.013 | 1.007
10300448487 | 30053 | 0053 | 5127 | MOUNT EAGLE WINDFARM | CO KERRY, MOUNT EAGLE | 15 | 5484 |  | N | DG7A | 0.961 | 0.955
10017808732 | 30054 | 0054 | 5128 | SAPORITO WINDFARM | DONEGAL TOWN, LOUGH EASK | 33 | 2084 |  | N | DG7A | 0.993 | 0.987
10024529491 | 30055 | 0055 | 5129 | REDWIND ENERGY LTD | LIFFORD, MEENANILTA | 30 | 2580 |  | N | DG7A | 1.018 | 1.012
10018932997 | 30056 | 0056 | 5130 | REDWIND ENERGY LTD | LIFFORD, MEENANILTA | 30 | 2684 |  | N | DG7A | 1.018 | 1.012
10300460964 | 30057 | 0057 | 5131 | MONEENATIEVE WINDFARM LTD | CARRICK-ON-SHANNON, ARIGNA | 28 | 4258 |  | N | DG7A | 0.956 | 0.956
10021220572 | 30058 | 0058 | 5132 | BIOVERDA POWER SYSTEMS LTD | KILDARE, SILLIOT HILL | 100 | 0 |  | N | DG7 | 1.013 | 1.007
10020202199 | 30059 | 0059 | 5090 | MR DAN TWOMEY T/A | CORK, LEE ROAD | 15 | 285 |  | N | DG5A | 1.09 | 1.074
10000061473 | 30060 | 0060 | 5091 | WYETH NUTRITIONALS IRELAND | ASKEATON, FOYNES ROAD | 9000 | 6500 |  | N | DG8B | 1.014 | 1.01
10021487062 | 30061 | 0061 | 5096 | TURSILLAGH 2 LTD | TRALEE, TURSILLAGH | 50 | 6800 | GU_400560 | P | DG9A | 1.015 | 1.011
10301238761 | 30062 | 0062 | 5134 | SKEHANAGH WIND FARM | BIRR, DRUMINDUFF | 45 | 4474 |  | N | DG7A | 1.008 | 1.002
10301238742 | 30063 | 0063 | 5135 | FRAMORE LTD GAOITHE GLAS TEOR | CO CORK, CURRAGLASS | 15 | 1 |  | N | DG7 | 1.013 | 1.009
10000005860 | 30064 | 0064 | 5136 | ELECTRICAL POWER | DUBLIN 7, ECCLES STREET | 2050 | 1579 |  | N | DG7 | 1.037 | 1.031
10000016294 | 30065 | 0065 | 5137 | GUINNESS IRELAND GROUP | DUBLIN 8, SAINT JAMES GATE | 6000 | 8500 |  | N | DG7A | 1.037 | 1.031
10000032641 | 30066 | 0066 | 5138 | UNIVERSITY COLLEGE DUBLIN | DUBLIN 4, BELFIELD | 8000 | 1000 |  | N | DG7B | 1.037 | 1.031
10000042319 | 30068 | 0068 | 5140 | SOUTHERN HEALTH BOARD | CORK, WILTON | 3000 | 806 |  | N | DG7B | 1.037 | 1.031
10000048023 | 30069 | 0069 | 5141 | DAIRYGOLD CO-OP SOC LTD | MITCHELSTOWN, Castlefarm Complex | 8900 | 9000 |  | N | DG8A | 1.021 | 1.017
10000049211 | 30070 | 0070 | 5142 | DAIRYGOLD CO-OP SOC LTD | MALLOW, ANNABELLA | 3800 | 4400 |  | N | DG9A | 1.021 | 1.017
10000061081 | 30071 | 0071 | 5143 | KERRY INGREDIENTS IRELAND LTD | CO CORK, MAIN STREET | 4500 | 4700 |  | N | DG7A | 1.037 | 1.031
10000061455 | 30072 | 0072 | 5144 | AEROBORD LTD | ASKEATON, BREWERY LANE | 600 | 300 |  | N | DG7B | 1.037 | 1.031
10000098019 | 30073 | 0073 | 5145 | JOSEPH STEWART & CO | BOYLE, PATRICK STREET | 75 | 139 |  | N | DG7A | 1.037 | 1.031
10002376296 | 30074 | 0074 | 5146 | BIOVERDA POWER SYSTEMS LTD | DUBLIN 24, BOHERNABREENA | 15 | 1049 |  | N | DG7 | 1.036 | 1.03
10004271021 | 30075 | 0075 | 5147 | BIOVERDA POWER SYSTEMS LTD | LUSK, BALLEALLY 1 | 172 | 5137 |  | N | DG7 | 1.012 | 1.006
10004420399 | 30076 | 0076 | 5148 | BIOVERDA POWER SYSTEMS LTD | DUBLIN 15, DUNSINK LANE | 15 | 5234 |  | N | DG9 | 1.02 | 1.016
10005293685 | 30077 | 0077 | 5149 | BIOVERDA POWER SYSTEMS LTD | DUBLIN 18, BALLYOGAN LANE | 15 | 2055 |  | N | DG7 | 1.035 | 1.029
10006758043 | 30078 | 0078 | 5150 | GALEFORCE ENERGY LTD | DUNMANWAY, CURRABWEE | 29 | 4863 | GU_400700 | P | DG9A | 1.021 | 1.017
10006964078 | 30079 | 0079 | 5151 | MHB WINDFARMS LTD | DUNMANWAY, MILLANE | 54 | 6253 |  | N | DG9A | 1.009 | 1.005
10007057553 | 30080 | 0080 | 5152 | CELTIC HYDRO LTD | BANTRY, BORLIN | 25 | 398 |  | N | DG7 | 0.984 | 0.978
10007059854 | 30081 | 0081 | 5153 | OWENBEG NATURAL | BANTRY, CARRIGANASS | 29 | 920 |  | N | DG7 | 0.995 | 0.989
10007179935 | 30082 | 0082 | 5154 | GLENLOUGH GENERATIONS LTD | BANTRY, ADRIGOLE | 15 | 430 |  | N | DG7 | 1.037 | 1.031
10007824641 | 30083 | 0083 | 5155 | MHB WINDFARMS LTD | TRALEE, KILFLYNN | 54 | 4168 |  | N | DG7A | 1.012 | 1.006
10008120168 | 30084 | 0084 | 5156 | TREWELL LTD | CO KERRY, BREANLEE | 15 | 1258 |  | N | DG7A | 1.027 | 1.021
10008264167 | 30085 | 0085 | 5157 | CELTIC HYDRO LTD | BANTRY, SLAHENY | 25 | 527 |  | N | DG7 | 0.98 | 0.974
10008264258 | 30086 | 0086 | 5158 | SANDVIEW LTD | KENMARE, ASHGROVE | 15 | 699 |  | N | DG7 | 1.037 | 1.031
10010773872 | 30087 | 0087 | 5159 | FUINNEAMH GAOITHE TEO | CO NA GAILLIMHE, AN CNOC | 15 | 3474 |  | N | DG7A | 1.027 | 1.021
10011442787 | 30088 | 0088 | 5160 | NADIRKMORE ENERGY LTD | CO MAYO, CAPPANACREHA | 33 | 441 |  | N | DG7 | 1.037 | 1.031
10011591965 | 30089 | 0089 | 5161 | WIND FARM COMHAR CHUMAN | CO GALWAY, INIS MEAIN | 80 | 726 |  | N | DG7A | 1.037 | 1.031
10012003026 | 30090 | 0090 | 5162 | MR NICHOLAS MOSSE | CO KILKENNY, BENNETTSBRIDGE | 48 | 29 |  | N | DG5 | 1.09 | 1.074
10012205039 | 30091 | 0091 | 5163 | INT.TRAILERS LTD | BAGENALSTOWN, REGENT STREET | 48 | 130 |  | N | DG5 | 1.037 | 1.031
10015910442 | 30092 | 0092 | 5164 | ROBERT PERRY & CO LD | CO OFFALY, BELMONT | 15 | 430 |  | N | DG7 | 1.037 | 1.031
10016837569 | 30093 | 0093 | 5165 | BAYDEEN LTD | CO SLIGO, COLLOONEY | 15 | 538 |  | N | DG7 | 1.036 | 1.03
10016837644 | 30094 | 0094 | 5166 | ROCKYGRANGE HYDROELECTRIC | CO SLIGO, BALLISODARE | 15 | 2305 |  | N | DG7 | 1.005 | 0.999
10016943869 | 30095 | 0095 | 5167 | CELTIC HYDRO LTD | CO DONEGAL, MEENAHALLA | 15 | 349 |  | N | DG7A | 1.036 | 1.03
10016943871 | 30096 | 0096 | 5168 | TAWNAWULLY POWER LTD | CO DONEGAL, BARNESMORE | 15 | 591 |  | N | DG7A | 1.008 | 1.002
10016943883 | 30097 | 0097 | 5169 | CELTIC HYDRO LTD | CO DONEGAL, BARNESMORE | 25 | 522 |  | N | DG7A | 1.009 | 1.003
10017431538 | 30098 | 0098 | 5170 | HAVASU LTD | ROSCOMMON, ARIGNA | 54 | 5053 |  | N | DG7A | 0.992 | 0.986
10017431541 | 30099 | 0099 | 5171 | AWC LTD | CO ROSCOMMON, ARIGNA | 15 | 1263 | GU_401130 | P | DG7A | 0.993 | 0.987
10017431553 | 30100 | 0100 | 5172 | KILRONAN WINDFARM LTD | CO ROSCOMMON, ARIGNA | 54 | 5263 |  | N | DG7A | 1.011 | 1.005
10017541698 | 30101 | 0101 | 5173 | BLACK BANKS WINDFARM | CO LEITRIM, DRUMKEERIN | 54 | 3579 |  | N | DG7A | 0.969 | 0.969
10017597682 | 30102 | 0102 | 5174 | RENEWABLE ENERGY IRL LTD | CO MAYO, BELLACORICK | 152 | 6789 |  | N | DG7A | 1.028 | 1.022
10017808705 | 30103 | 0103 | 5175 | MR J FINGLETON | DONEGAL TOWN, LOUGH EASK | 15 | 699 |  | N | DG7A | 1.036 | 1.03
10017808718 | 30104 | 0104 | 5176 | ANARGET | DONEGAL TOWN, LOUGH EASK | 15 | 865 | GU_401111 | P | DG7 | 0.993 | 0.987
10018005831 | 30105 | 0105 | 5177 | CROCKAHENNY WINDFARM LTD | BUNCRANA, ILLIES | 29 | 5263 |  | N | DG9A | 1.021 | 1.017
10018005848 | 30106 | 0106 | 5178 | BAYLSHAM LTD | CO DONEGAL, DRUMLOUGHILL | 100 | 5053 |  | N | DG9A | 1.017 | 1.013
10018621839 | 30107 | 0107 | 5179 | FISHERMENS CO-OP SOCIETY | CO DONEGAL, BURTONPORT | 15 | 710 |  | N | DG7A | 1.037 | 1.031
10018742385 | 30108 | 0108 | 5180 | FIRST ELECTRIC LTD | BALLYBUNION, BEALE HILL | 29 | 1737 | GU_400680 | P | DG7A | 0.987 | 0.983
10021334999 | 30109 | 0109 | 5181 | MIENVEE ENERGY LTD. | CO TIPPERARY, MOANVAUN | 20 | 895 |  | N | DG7A | 1.035 | 1.029
10300977812 | 30110 | 0110 | 5182 | LACKAN WIND ENERGY LTD | ENNISCRONE, LACKAN WINDFARM | 30 | 6316 |  | N | DG7A | 1.025 | 1.019
10302403478 | 30111 | 0111 | 5183 | CRONELEA WIND FARM LTD | CO WICKLOW, CRONELEA | 60 | 5262 |  | N | DG7A | 1.02 | 1.014
10016690052 | 30112 | 0112 | 5123 | LARGAN HILL WINDFARM LTD | BALLAGHADERREEN, LARGAN | 54 | 6253 |  | N | DG9A | 1.017 | 1.013
10301238761 | 30113 | 0113 | 5134 | SKEHANAGH WIND FARM | BIRR, DRUMINDUFF | 70 | 4474 |  | N | DG7A | 1.008 | 1.002
10017200103 | 30115 | 0115 | 5184 | ISLAND SEAFOODS | KILLYBEGS, STRAGAR | 95 | 242 |  | N | DG7A | 1.037 | 1.031
21300001088 | 30116 | 0116 | 5185 | CONOCOPHILLIPS W'GATE REF. LTD | CO CORK, WHITEGATE | 13000 | N/A |  | N | TCON | 1.021 | 1.017
10021995380 | 30117 | 0117 | 5097 | GREENSTAR LIMITED | KILL, ARTHURSTOWN | 110 | 10284 | GU_400580 | N | DG9A | 0.964 | 0.96
10304021627 | 30119 | 0119 | 5186 | ESB Power Generation | CO DONEGAL, CLADY | 15 | 4000 | GU_401190 | P | DG9A | 1.021 | 1.017
10304021611 | 30120 | 0120 | 5187 | ESB Power Generation | BANTRY, DERRYDUV | 15 | 680 | GU_401200 | N | DG7A | 0.992 | 0.986
10013545899 | 30121 | 0121 | 5188 | HOGG ENTERPRISES LTD | CO WEXFORD, CLOHAMON MILLS | 48 | 142 |  | N | DG5 | 1.024 | 1.018
10018005848 | 30122 | 0122 | 5178 | BAYLSHAM LTD | CO DONEGAL, DRUMLOUGHILL | 100 | 5053 |  | N | DG9A | 1.017 | 1.013
10301456577 | 30123 | 0123 | 5189 | TORNADO ELECTRIC LTD | CO WATERFORD, BEALOUGH WIND FARM | 15 | 1790 |  | N | DG7A | 1.027 | 1.021
10017808732 | 30124 | 0124 | 5128 | SAPORITO WINDFARM | DONEGAL TOWN, LOUGH EASK | 33 | 2084 |  | N | DG7A | 0.993 | 0.987
10017808732 | 30125 | 0125 | 5128 | SAPORITO WINDFARM | DONEGAL TOWN, LOUGH EASK | 33 | 2084 | GU_401110 | P | DG7A | 0.993 | 0.987
10301816738 | 30126 | 0126 | 5190 | Mahon Hydro Ltd | CO WATERFORD, KILMACTHOMAS | 100 | 908 |  | N | DG7A | 1.029 | 1.023
10300546934 | 30127 | 0127 | 5191 | KILLYBEGS WIND POWER LTD | KILLYBEGS, KILLYBEGS WINDFARM | 15 | 2684 |  | N | DG7A | 1.023 | 1.017
10303497303 | 30128 | 0128 | 5192 | Tournafulla Windfarm (ROI) Ltd | Tournafulla Co Limerick | 250 | 18105 | GU_400600 | P | DG9A | 0.975 | 0.975
10303741562 | 30129 | 0129 | 5193 | MULLANANALT WINDFARM (ROI)LTD | CO MONAGHAN, LATTON | 211 | 7895 |  | N | DG9A | 1.014 | 1.01
10300546945 | 30130 | 0130 | 5194 | HIGHLAND WIND ENERGY LTD | RATHMULLAN, LURGANBOY WINDFARM | 15 | 5253 |  | N | DG7A | 1.026 | 1.02
10300546957 | 30131 | 0131 | 5195 | NORTH WEST WIND LTD | GLENTIES, LOUGHDERRYDUFF WINDFARM | 15 | 8052 |  | N | DG9A | 1.017 | 1.013
10304037106 | 30132 | 0132 | 5196 | BROSNA HYDRO ENERGY | CLARA, FREDERICK STREET | 15 | 150 |  | N | DG5A | 1.086 | 1.07
10304211844 | 30133 | 0133 | 5197 | SLIEVERAGH POWER LTD | CO LIMERICK, THE OLD MILL | 15 | 138 | GU_400670 | N | DG5A | 1.085 | 1.069
10301670518 | 30134 | 0134 | 5198 | MOUNT EAGLE WINDFARM LTD. | CO KERRY, MOUNT EAGLE | 15 | 1789 |  | N | DG7A | 0.961 | 0.955
10000081818 | 30135 | 0135 | 5199 | Dublin City Council | CO WICKLOW, ROUNDWOOD | 71 | 63 |  | N | DG6B | 0.989 | 0.983
10303344535 | 30136 | 0136 | 5201 | EDRANS WIND LIMITED | COOTEHILL, TULLYCO | 100 | 3158 |  | N | DG7A | 1.028 | 1.022
10002558102 | 30137 | 0137 | 5202 | CELBRIDGE COMMUNITY | CELBRIDGE, THE MILL | 48 | 57 |  | N | DG5 | 1.037 | 1.031
10304040483 | 30138 | 0138 | 5205 | Sheeragh Wind Ltd | BUNCRANA, Beauville | 92 | 4421 |  | N | DG7A | 0.989 | 0.989
10304041784 | 30139 | 0139 | 5206 | GLACKMORE WIND POWER LTD | CO DONEGAL, GLACKMORE | 15 | 2421 |  | N | DG7A | 0.972 | 0.972
10302580276 | 30140 | 0140 | 5204 | KNOCKASTANNA WINDFARM ROI LTD | CO LIMERICK, DOON | 100 | 7895 |  | N | DG7A | 0.985 | 0.981
10304142123 | 30141 | 0141 | 5208 | RAHORA WIND FARM LTD | CO KILKENNY, RAHORA | 45 | 4474 |  | N | DG7A | 1.025 | 1.019
10000083776 | 30142 | 0142 | 5207 | DUNDALK INSTITUE | DUNDALK, DUBLIN ROAD | 1322 | 526 |  | N | DG7B | 1.037 | 1.031
10302245544 | 30143 | 0143 | 5210 | LIMERICK COUNTY COUNCIL | LIMERICK, GORTADROMA | 200 | 3368 |  | N | DG7 | 1.014 | 1.008
10304489031 | 30144 | 0144 | 5211 | Reenascreena Wind Farm Ltd. | CO CORK, ROSSCARBERY | 40 | 4736 |  | N | DG7A | 1.018 | 1.012
10302419462 | 30145 | 0145 | 5118 | DUNMORE WIND POWER LTD | DUNDALK, DUNMORE | 70 | 3684 | GU_400880 | P | DG7A | 1.026 | 1.02
10301087379 | 30146 | 0146 | 5110 | BEARNA GAOITHE TEO | CO WICKLOW, SHILLELAGH | 21 | 4473 | GU_400890 | P | DG7A | 1.03 | 1.024
10305162875 | 30148 | 0148 | 5213 | Derrynadivva Windfarm Ltd | CASTLEBAR, RAHEEN BARR | 70 | 16105 |  | N | DG9A | 1.009 | 1.005
10304210811 | 30149 | 0149 | 5214 | Cronelea Wind Farm Ltd. | CO WICKLOW, SHILLELAGH | 45 | 4737 |  | N | DG7A | 1.02 | 1.014
10304278122 | 30150 | 0150 | 5212 | Slievereagh Power Ltd. | CO LIMERICK, KILFINANE | 100 | 4842 | GU_400671 | N | DG7A | 1.021 | 1.015
10304138673 | 30151 | 0151 | 5215 | SunFlower Design | CLAREMORRIS, MACE UPPER | 17 | 2684 |  | N | DG7A | 1.035 | 1.029
10000082566 | 30152 | 0152 | 5216 | BAILLIEBOROUGH FOODS | BAILIEBOROUGH, SHERCOCK ROAD | 5025 | 5484 |  | N | DG7A | 1.028 | 1.022
10000050263 | 30153 | 0153 | 5217 | ADAM BRIDGE | CO CORK, LACCA CROSS | 7500 | 7894 |  | N | DG8A | 1.011 | 1.007
10304807079 | 30154 | 0154 | 5389 | Tra Investments Ltd. | TRALEE, BALLINCOLLIG HILL | 90 | 15780 | GU_401000 | P | DG9A | 1.016 | 1.012
10305279054 | 30155 | 0155 | 5219 | GREENSTAR | CO MEATH, KENTSTOWN | 110 | 5211 |  | N | DG7A | 1.022 | 1.016
10304041579 | 30156 | 0156 | 5221 | Shannagh Wind Farm Limited | CO DONEGAL, SHANNAGH | 22 | 2684 |  | N | DG7A | 1.034 | 1.028
10305324642 | 30157 | 0157 | 5223 | WINDFARM MANAGEMENT LTD | CO DONEGAL, DRUMLOUGHILL | 100 | 10516 |  | N | DG9A | 0.987 | 0.987
10304612017 | 30158 | 0158 | 5226 | TULLOW MUSHROOM GROWERS LTD | TULLOW, DOWNINGS | 500 | 140 |  | N | DG7B | 1.016 | 1.01
10019021903 | 30159 | 0159 | 5086 | CUILLALEA WEST WINDFARM LTD | CO MAYO, CUILLALEA WEST | 29 | 5253 |  | N | DG7A | 1.021 | 1.015
10009896984 | 30160 | 0160 | 5227 | THOMAS COSBY | PORTLAOISE, STRADBALLY | 28 | 32 |  | N | DG5A | 1.09 | 1.074
10000050263 | 30161 | 0161 | 5217 | ADAM BRIDGE MANUFACTURING LTD | LACCA CROSS | 7500 | 7894 |  | N | DG8A | 1.011 | 1.007
10301164687 | 30162 | 0162 | 5228 | GREENSTAR LTD | KILLAGHMORE, BALLINASLOE | 110 | 698 |  | N | DG7A | 1.037 | 1.031
10301110569 | 30163 | 0163 | 5229 | WESTERN POWER LTD | CASTLEBAR, LENANAVEA | 50 | 4894 |  | N | DG7A | 1.012 | 1.006
10000056764 | 30164 | 0164 | 5230 | LIMERICK BLOW MOULDING | LIMERICK, PARTEEN | 1330 | 525 |  | N | DG7B | 1.037 | 1.031
10305179171 | 30165 | 0165 | 5232 | Arthur Davidson | Agaghadullagh Mill, BALLINTRA, DONEGAL | 25 | 205 |  | N | DG6A | 1.02 | 1.014
10305354663 | 30166 | 0166 | 5233 | MCDONNELL FARMS BIOGAS LTD | DUNMOYLAN, SHANAGOLDEN, LIMERICK | 180 | 525 |  | N | DG6A | 1.028 | 1.022
10012466048 | 30167 | 0167 | 5234 | DOMINIC BEHAL | KILMACOW, KILKENNY | 15 | 23 |  | N | DG5A | 1.09 | 1.074
10012466031 | 30168 | 0168 | 5235 | BENEDICT BEHAL | KILMACOW, GREENVILLE MILLS, KILKENNY | 48 | 83 |  | N | DG5A | 1.09 | 1.074
10011989135 | 30169 | 0169 | 5236 | MS COLETTE BRETT | INCH HYDRO, SION ROAD, KILKENNY | 15 | 42 |  | N | DG5A | 1.09 | 1.074
10305389806 | 30170 | 0170 | 5237 | CARRONS WINDFARM LIMITED | SHANAGOLDEN, LIMERICK | 70 | 5252 |  | N | DG9A | 1.013 | 1.009
10010402558 | 30171 | 0171 | 5238 | MR MICHAEL DWAN | NEWTOWN HOUSE, HOLY CROSS, THURLES | 15 | 235 |  | N | DG5A | 1.037 | 1.031
10010168063 | 30172 | 0172 | 5239 | J ALEXANDER | MILFORD, GEN PLANT. CARLOW | 15 | 400 |  | N | DG5A | 1.027 | 1.021
10007275173 | 30173 | 0173 | 5240 | BANDON CHARITABLE | BANDON WEIR, COOLFADDA, BANDON | 15 | 83 |  | N | DG5A | 1.037 | 1.031
10013265896 | 30174 | 0174 | 5241 | MR NICHOLAS GRUBB | CASTLEGRACE, CLOGHEEN, CAHIR, | 15 | 94 |  | N | DG5A | 1.037 | 1.031
10011418570 | 30175 | 0175 | 5242 | LANGAN (SPRINGVALE) LTD | SPRINGVALE, BALLINROBE, MAYO | 15 | 116 |  | N | DG5A | 1.037 | 1.031
10010773872 | 30176 | 0176 | 5243 | FUINNEAMH GAOITHE TEO | INDREABHAN WINDFARM, AN CNOC, CO NA GAILLIMHE | 15 | 3474 |  | N | DG7A | 1.027 | 1.021
10305173417 | 30177 | 0177 | 5244 | Greenstar Ltd | Ballynagran Landfill Phase 2, BALLYNAGRAN, CO WICKLOW | 70 | 4491 |  | N | DG7A | 1.002 | 0.996
10303699457 | 30178 | 0178 | 5245 | IQ Wind Limited | Crocane, CLOYNE, MIDLETON, CORK | 25 | 1789 |  | N | DG7A | 1.005 | 0.999
10017742180 | 30179 | 0179 | 5113 | CRONALAGHT WINDFARM | GWEEDORE, CO DONEGAL | 65 | 5242 |  | N | DG9A | 1.02 | 1.016
10004271021 | 30180 | 0180 | 5147 | BIOVERDA POWER SYSTEMS LTD | BALLEALLY 1, LUSK, DUBLIN | 172 | 5137 |  | N | DG7 | 1.012 | 1.006
10304040562 | 30182 | 0182 | 5247 | Seltannaveeny Wind Farm | SELTANNAVEENY, Arigna, CO ROSCOMMON | 65 | 5684 |  | N | DG7A | 1.031 | 1.025
10021504821 | 30183 | 0183 | 5248 | Keelings Salads | ROSLIN, ST MARGARETS, CO DUBLIN | 1862 | 1789 |  | N | DG7A | 1.037 | 1.031
10000050263 | 30184 | 0184 | 5249 | ADAM BRIDGE MANUFACTURING LTD | LACCA CROSS, BALLYDESMOND, CO CORK | 7500 | 7894 |  | N | DG8A | 1.011 | 1.007
10303983234 | 30185 | 0185 | 5250 | Menard Limited | SKRINE, ATHLEAGUE, CO ROSCOMMON | 35 | 5262 |  | N | DG7A | 1.015 | 1.009
10305499154 | 30186 | 0186 | 5251 | Ballymartin Wind Farm | Ballymartin Co Kilkenny | 35 | 15031 | GU_401710 | P | DG7A | 0.963 | 0.959
10000019117 | 30187 | 0187 | 5252 | Country Crest Ltd | RATHMOONEY, LUSK, DUBLIN | 1370 | 526 |  | N | DG7B | 1.037 | 1.031
10304722281 | 30188 | 0188 | 5253 | TULLYNAMOYLE WIND FARM LTD | TULLYNAMOYLE, KILLARGA, CO LEITRIM | 40 | 9474 |  | N | DG7A | 0.987 | 0.987
10305352574 | 30189 | 0189 | 5254 | CORKERMORE WINDFARM LTD. | KILLYBEGS, DONEGAL | 100 | 10516 |  | N | DG9A | 1.017 | 1.013
10305265460 | 30190 | 0190 | 5255 | Venti Windfarm Limited | NENAGH, TEMPLEDERRY | 15 | 2568 |  | N | DG7A | 0.983 | 0.979
10305062816 | 30191 | 0191 | 5256 | B9 Power Limited | TRALEE, MUINGNAMINNANE | 40 | 263 |  | N | DG7A | 1.037 | 1.031
10304043047 | 30192 | 0192 | 5257 | Redwind Energy Phase 3 Ltd | CO DONEGAL, MEENADREEN | 57 | 3579 |  | N | DG7A | 1.019 | 1.013
10304667635 | 30193 | 0193 | 5258 | Caher Downey Wind Farm Ltd | MACROOM, CAHERDOWNEY | 200 | 10526 |  | N | DG7A | 0.992 | 0.992
10304666346 | 30194 | 0194 | 5259 | Clydaghroe Wind Farm Limited | KILLARNEY, CLONKEEN | 20 | 5253 |  | N | DG7A | 0.991 | 0.991
10008962729 | 30195 | 0195 | 5260 | JOHN HANLY & CO LTD | NENAGH, BALLYARTELLA WOOLLEN MILL | 35 | 23 |  | N | DG5B | 1.021 | 1.015
10305279054 | 30196 | 0196 | 5219 | GREENSTAR | CO MEATH, KENTSTOWN | 110 | 5211 |  | N | DG7A | 1.022 | 1.016
10305464907 | 30197 | 0197 | 5263 | Ballaman Wind Farm Ltd | CO WEXFORD, GOREY | 25 | 3789 |  | N | DG7A | 0.99 | 0.99
10305543021 | 30198 | 0198 | 5261 | Cavan County Council | CORRANURE LFG, CAVAN | 150 | 1053 |  | N | DG7A | 1.037 | 1.031
10305043445 | 30199 | 0199 | 5262 | Caherciveen Wind Ltd. | KNOCKANEDEN WIND FARM, CAHERCIVEEN, CO KERRY | 15 | 9474 |  | N | DG9A | 1.007 | 1.003
10000071968 | 30200 | 0200 | 5264 | ST PATRICKS MISSIONARY SC | KILTEGAN, CO WICKLOW | 100 | 137 |  | N | DG6A | 1.023 | 1.017
10305488864 | 30201 | 0201 | 5265 | Templederry Windfarm Limited | CO TIPPERARY, KNOCKMEALE | 700 | 4837 |  | N | DG7A | 0.978 | 0.974
10002833298 | 30202 | 0202 | 5266 | ESE LTD | LUCAN, HILLS INDUSTRIAL ESTATE | 15 | 122 |  | N | DG5A | 1.09 | 1.074
10000001760 | 30203 | 0203 | 5267 | Citibank | DUBLIN 1, NORTH WALL QUAY | 2000 | 2000 |  | N | DG7B | 1.037 | 1.031
10305172501 | 30204 | 0204 | 5268 | Sigatoka | CO CORK, LISSARDA | 38 | 9210 |  | N | DG7A | 1.023 | 1.017
10301430682 | 30205 | 0205 | 5269 | MILLSTREAM HYDRO | ABBEYFEALE, MILLSTREAM | 25 | 93 |  | N | DG5 | 1.09 | 1.074
10300384713 | 30206 | 0206 | 5271 | Knocknalour Windfarm (Use for S01 leg) | BUNCLODY, KNOCKNALOUR | 125 | 9421 |  | N | DG7A | 0.906 | 0.906
10300384713 | 30207 | 0207 | 5271 | Knocknalour Windfarm (Use for S08 leg) | BUNCLODY, KNOCKNALOUR | 125 | 9421 |  | N | DG7A | 0.906 | 0.906
10304141846 | 30208 | 0208 | 5270 | Ballynancoran Wind Farm Ltd | ENNISCORTHY, FERNS | 60 | 4210 |  | N | DG7A | 0.97 | 0.97
10304043473 | 30209 | 0209 | 5272 | Inish Wind Limited | LIFFORD, QUIGLEYS POINT | 120 | 9684 |  | N | DG7A | 0.977 | 0.977
10012737114 | 30210 | 0210 | 5273 | CARRIGBYRNE FARMHOUSE CHEESE CO LTD | CO WEXFORD, ADAMSTOWN | 30 | 105 |  | N | DG6A | 1.09 | 1.074
10304671406 | 30211 | 0211 | 5274 | PLUCKANES WINDFARM LTD | PLUCKANES, CO CORK | 15 | 895 |  | N | DG7A | 1.037 | 1.031
10305478663 | 30212 | 0212 | 5275 | BORD NA MONA ENVIRONMENTAL LTD | CARBURY, KILDARE | 550 | 5262 |  | N | DG7A | 0.986 | 0.98
10305404736 | 30213 | 0213 | 5277 | Holyford Windfarm Ltd | GLENOUGH UPPER, CO TIPPERARY | 220 | 9474 |  | N | DG7A | 0.957 | 0.957
10305786462 | 30214 | 0214 | 5276 | Ormonde Organics Limited | KILLOWEN, PORTLAW | 50 | 1053 |  | N | DG7A | 1.037 | 1.031
10305454289 | 30215 | 0215 | 5278 | Carrickeeny Wind | MANORHAMILTON, LEITRIM | 50 | 8053 |  | N | DG7A | 0.985 | 0.981
10305715360 | 30216 | 0216 | 5279 | BALLYCURREEN WINDFARM | DUNGARVAN, WATERFORD | 120 | 5253 |  | N | DG7A | 1.019 | 1.013
10012053195 | 30217 | 0217 | 5280 | ALAN MAHARAJ | BLEACH ROAD, KILKENNY | 15 | 150 |  | N | DG5A | 1.09 | 1.074
10014809803 | 30218 | 0218 | 5281 | MEADE POTATO CO LTD | NAVAN, BRAYSTOWN | 850 | 316 |  | N | DG7B | 1.09 | 1.074
10304954214 | 30219 | 0219 | 5282 | DUBLIN CITY COUNCIL | DUBLIN 13, FATHER COLLINS PARK | 216 | 263 |  | N | DG6A | 0.988 | 0.982
10305992640 | 30220 | 0220 | 5286 | Kilbush Nurseries | NORTH HILL, RUSH | 70 | 1684 |  | N | DG7A | 1.037 | 1.031
10303460385 | 30221 | 0221 | 5283 | M8 Junction 10 Cahir Wind Turbine | CLOGHABREEDY JUNCTION, CAHIR | 15 | 10 |  | N | DG5B | 1.09 | 1.074
10000046526 | 30222 | 0222 | 5284 | DEPUY (IRELAND) | RINGASKIDDY, CO CORK | 3500 | 2632 |  | N | DG7B | 1.037 | 1.031
10301584370 | 30223 | 0223 | 5285 | JANSSEN BIOLOGICS (IRELAND) | BARNAHELY, CO CORK | 2500 | 2105 |  | N | DG7A | 1.037 | 1.031
10000088164 | 30224 | 0224 | 5287 | Louis A McCauley Ltd | BLACKLION, CO MEATH | 1100 | 316 |  | N | DG7B | 1.037 | 1.031
10016178524 | 30225 | 0225 | 5288 | ATHGARVAN GRAIN CO LTD | NEWBRIDGE | 29 | 40 |  | N | DG5 | 1.019 | 1.013
10306021152 | 30226 | 0226 | 5289 | Louth Co Co | Whiteriver Landfill, Dunleer | 150 | 1341 |  | N | DG7A | 1.026 | 1.02
10305664690 | 30227 | 0227 | 5290 | FAUGHARY WIND FARM LTD | MANORHAMILTON, LEITRIM | 180 | 6316 |  | N | DG7A | 0.987 | 0.983
10305797121 | 30228 | 0228 | 5291 | DERRINUMERA LANDFILL GAS GENERATION | NEWPORT, MAYO | 7 | 400 |  | N | DG5A | 1.027 | 1.021
10305173417 | 30229 | 0229 | 5292 | BALLYNAGRAN LANDFILL | BALLYNAGRAN, WICKLOW | 70 | 4491 |  | N | DG7A | 1.002 | 0.996
10305528433 | 30230 | 0230 | 5293 | James Nally | LISNASCREEN, ATHLONE | 15 | 119 |  | N | DG5A | 1.09 | 1.074
10305740007 | 30231 | 0231 | 5294 | Carrownaweelaun Energy Ltd | KILKEE, CLARE | 30 | 4842 |  | N | DG7A | 0.986 | 0.98
10305256026 | 30232 | 0232 | 5295 | GREEN GENERATION LIMITED | CO KILDARE, NURNEY | 200 | 1121 |  | N | DG7A | 1.028 | 1.022
10303993532 | 30233 | 0233 | 5296 | Fairbourne Commercial Limited | FERBANE, CO OFFALY | 25 | 4474 |  | N | DG7A | 1.031 | 1.025
10303983208 | 30234 | 0234 | 5297 | Gallia Commercial Ltd | BALLAGHADEREEN, CO ROSCOMMON | 30 | 3789 |  | N | DG7A | 1.009 | 1.003
10305984912 | 30235 | 0235 | 5298 | Kinsale (Cork City Council) | KINSALE ROAD, CORK | 20 | 525 |  | N | DG7A | 1.037 | 1.031
10306071718 | 30236 | 0236 | 5299 | SCHWUNGRAD ENERGIE LTD | COOLCOR, RHODE, OFFALY | 50 | 422 |  | N | DG7A | 1.037 | 1.031
10305935304 | 30237 | 0237 | 5304 | Collon Windpower | Collon, Co. Louth | 30 | 3157 |  | N | DG7A | 1.026 | 1.02
10306144812 | 30239 | 0239 | 5305 | Raheenleagh Power Ltd | Arklow, Wicklow | 280 | 37053 | GU_401940 | P | DG9A | 1.008 | 1.004
10305389806 | 30240 | 0240 | 5308 | CARRONS WINDFARM LIMITED | SHANAGOLDEN, LIMERICK | 70 | 5252 |  | N | DG9A | 1.013 | 1.009
10306213042 | 30241 | 0241 | 5309 | Michael Aylward Windfarm | GLENMORE, BALLINCLARE | 30 | 526 |  | N | DG7A | 1.037 | 1.031
10305992132 | 30242 | 0242 | 5310 | OLDMILL WIND LIMITED | TULLYNAGEER / CO MONAGHAN | 157 | 16947 | GU_401890 | P | DG9A | 1.003 | 0.999
10306076078 | 30243 | 0243 | 5311 | Glencarbry Windfarm | KILNAMANAGH LOWER / CO TIPPERARY | 750 | 34736 | GU_404470 | P | DG9A | 0.987 | 0.987
10305510117 | 30244 | 0244 | 5312 | Lisdowney Wind Farm | Kilkenny | 157 | 9684 |  | N | DG7A | 1.011 | 1.007
10306154601 | 30245 | 0245 | 5313 | Killaveenoge Windfarm | Drinagh, Cork | 200 | 26105 | GU_401950 | P | DG9A | 1.014 | 1.01
10306080703 | 30246 | 0246 | 5314 | PORTFINCH LTD | BEALE HILL, BALLYBUNION | 15 | 1368 |  | N | DG7A | 0.987 | 0.983
10301901949 | 30247 | 0247 | 5315 | TESCO IRELAND LTD | LISSENHALL / DONABATE | 1100 | 525 |  | N | DG7B | 1.037 | 1.031
10305651092 | 30248 | 0248 | 5316 | KILMEEDY WINDFARM LTD | BALLINRUANE / CO LIMERICK | 50 | 4947 |  | N | DG7A | 1.015 | 1.009
10304291444 | 30249 | 0249 | 5317 | Meenacloghspar (Wind) Ltd | CAMOLIN / CO WEXFORD | 30 | 4842 |  | N | DG7A | 0.986 | 0.986
10013015346 | 30250 | 0250 | 5319 | KWT ENERGY LTD | KILNAGRANGE MILLS / CO WATERFORD | 600 | 516 |  | N | DG7B | 1.028 | 1.022
10305512331 | 30251 | 0251 | 5320 | Regan Wind Limited | CARROWBEG / MOVILLE / DONEGAL | 75 | 4211 |  | N | DG7A | 1.027 | 1.021
10305513807 | 30252 | 0252 | 5321 | Metro Energy Designated Activity Company | KILBEREHERT / CHARLEVILLE | 164 | 5052 |  | N | DG7A | 1.021 | 1.015
10305685447 | 30253 | 0253 | 5322 | LEO BARRY | RACKARDSTOWN / KILMORE / WEXFORD | 49 | 49 |  | N | DG5B | 1.09 | 1.074
10000073781 | 30254 | 0254 | 5323 | BALLON MEATS | BALLON / CO CARLOW | 460 | 526 |  | N | DG7A | 1.037 | 1.031
10306173776 | 30255 | 0255 | 5324 | TULLABRACK ENERGY LTD | TULLABRACK / KILRUSH | 293 | 14526 | GU_402050 | P | DG9A | 1.021 | 1.017
10019109945 | 30256 | 0256 | 5325 | JAMES OSBOURNE | GOREY BUSINESS PARK / GOREY | 15 | 164 |  | N | DG5A | 1.09 | 1.074
10306412401 | 30257 | 0257 | 5326 | Cappawhite Wind Limited | CAPPAGH / CO TIPPERARY | 420 | 54737 | GU_402150 | P | DG9A | 0.99 | 0.99
10306169137 | 30258 | 0258 | 5327 | BALLYBAY WIND FARM LTD | BALLYBEAGH / TULLAROAN /KILKENNY | 293 | 14526 | GU_404580 | P | DG7A | 0.995 | 0.991
10306169933 | 30259 | 0259 | 5328 | An Cnoc Windfarm | BAWNLEA / THURLES | 150 | 12105 | GU_401670 | P | DG7A | 0.986 | 0.982
10306053966 | 30260 | 0260 | 5329 | Tullynamoyle 3 | TULLYNAMOYLE, KILLARGA, CO LEITRIM | 55 | 14293 | GU_402200 | P | DG7A | 0.982 | 0.982
10305831163 | 30261 | 0261 | 5330 | Gurteen Windfarm | Knockatooreen, Grange, Thurles, Co Tipperary | 78 | 2421 |  | N | DG7A | 1.018 | 1.012
10306178647 | 30262 | 0262 | 5331 | Foyle Windfarm | FOYLATALURE / CO KILKENNY | 207 | 10105 |  | N | DG7A | 0.983 | 0.979
10300546990 | 30263 | 0263 | 5332 | Killin Hill | KILLIN HILL/KILLYBEGS/Donegal | 19 | 6316 |  | N | DG9A | 1.02 | 1.016
10306371993 | 30264 | 0264 | 5333 | Castlepook Windfarm | CO CORK, CASTLEPOOK | 350 | 34842 | GU_402190 | P | DG9A | 0.986 | 0.986
10306311810 | 30265 | 0265 | 5334 | Tullynamoyle 2 | TULLYNAMOYLE, KILLARGA, CO LEITRIM | 50 | 10763 | GU_402160 | P | DG7A | 0.986 | 0.986
10305514014 | 30266 | 0266 | 5335 | Knocknattalig Windfarm | CHARLEVILLE, BALLYHAY | 394 | 19263 | GU_403930 | P | DG9A | 0.988 | 0.988
10304778237 | 30267 | 0267 | 5336 | Coollegreen Windfarm | CO KERRY, BROSNA | 450 | 19474 | GU_403920 | P | DG9A | 0.993 | 0.993
10000081519 | 30268 | 0268 | 5337 | Tierney Farms | CO WATERFORD, CAHERBRACK | 158 | 157 |  | N | DG6B | 1.09 | 1.074
10000082532 | 30269 | 0269 | 5338 | LIFFEY ENERGY LIMITED | KILQUILLY / CO CAVAN | 2750 | 3176 |  | N | DG7A | 1.037 | 1.031
10305885248 | 30270 | 0270 | 5339 | Glanaruddery Windfarm 1 | CASTLEISLAND, KNOCKNAGASHEL | 331 | 21053 | GU_404490 | P | DG7A | 0.991 | 0.991
10305949607 | 30271 | 0271 | 5340 | Glanaruddery Windfarm 2 | TRALEE, KNOCKNAGOSHEL | 256 | 12632 | GU_404500 | P | DG7A | 0.99 | 0.99
10305512442 | 30272 | 0272 | 5341 | Leanamore | CO KERRY, LEANAMORE | 180 | 18947 | GU_402210 | P | DG7A | 0.983 | 0.983
10305349443 | 30273 | 0273 | 5342 | Scartaglen Windfarm Gate 2 | Barna, Co Kerry | 680 | 41316 | GU_402250 | P | DG9A | 0.986 | 0.986
10305349443 | 30274 | 0274 | 5342 | Scartaglen Windfarm Gate 3 | Barna, Co Kerry | 680 | 41316 | GU_402260 | P | DG9A | 0.986 | 0.986
10305499326 | 30275 | 0275 | 5343 | Curraghderrig Wind Limited | CURRAGHDERRIG / CO KERRY | 60 | 4737 |  | N | DG7A | 0.985 | 0.981
10305740514 | 30276 | 0276 | 5344 | MEENAWARD WIND FARM | SHANDRIM / INISHOWEN / DONEGAL | 100 | 7263 |  | N | DG9A | 0.987 | 0.987
10306120559 | 30277 | 0277 | 5345 | TEEVURCHER LIMITED | TEEVURCHER / KELLS / MEATH | 250 | 9474 |  | N | DG7A | 1.001 | 0.997
10306376217 | 30278 | 0278 | 5346 | Connaught Power | TUAM / CO GALWAY | 50 | 4474 |  | N | DG7A | 1.031 | 1.025
10306335983 | 30279 | 0279 | 5347 | MEENWAUN WIND FARM | BANAGHER / CO OFFALY | 100 | 10516 |  | N | DG7A | 1.006 | 1.002
10305858782 | 30280 | 0280 | 5348 | BALLAGH WINDFARM | BALLAGH / CO LIMERICK | 180 | 4842 |  | N | DG7A | 0.993 | 0.987
10306100528 | 30281 | 0281 | 5349 | GORTNACLOGHY WIND FARM | BALLAGH / CO LIMERICK | 25 | 4632 |  | N | DG7A | 0.992 | 0.986
10016897158 | 30282 | 0282 | 5350 | GRADY WINDOW MANUFACTURERS LTD | BRACKLOONAGH SOUTH / CO MAYO | 1500 | 2632 |  | N | DG7A | 1.037 | 1.031
10306519464 | 30283 | 0283 | 5351 | Cappawhite B Wind Limited | Co TIPPERARY | 170 | 13874 | GU_402340 | P | DG9A | 0.995 | 0.995
10305901779 | 30284 | 0284 | 5352 | Cloghaneleskirt Wind Farm | Co. Kerry | 150 | 13211 | GU_402280 | P | DG7A | 0.983 | 0.983
10306269465 | 30285 | 0285 | 5353 | Carrickallen Windfarm | Cootehill, Co Cavan | 465 | 23158 | GU_402220 | P | DG9A | 1.005 | 1.001
10305503312 | 30286 | 0286 | 5354 | B&R Wind Limited | FREEMOUNT / CHARLEVILLE | 136 | 4684 |  | N | DG7A | 1.037 | 1.031
10306343986 | 30287 | 0287 | 5355 | DROMADDA BEG WIND FARM LTD | DROMADDA BEG / LISTOWEL | 100 | 10526 |  | N | DG7A | 0.994 | 0.994
10306646894 | 30288 | 0288 | 5356 | ERAS ECO LTD | FOXHOLE, YOUGHAL, CO CORK | 225 | 1789 |  | N | DG7A | 1.037 | 1.031
10306799466 | 30289 | 0289 | 5357 | Rockbrook AD | ROCKBROOK / PORTLAOISE | 245 | 525 |  | N | DG6A | 1.028 | 1.022
10305461732 | 30290 | 0290 | 5358 | PWWP DEVELOPEMENTS LTD | MAGHERAMORE / CLAREMORRIS | 750 | 42947 | GU_403400 | P | DG9A | 0.993 | 0.993
10305615064 | 30291 | 0291 | 5359 | KILBRANISH WIND FARM | KILBRANISH / ENNISCORTHY | 65 | 2632 |  | N | DG7A | 0.991 | 0.987
10306218501 | 30292 | 0292 | 5381 | BALLYCUMBER WIND FARM | TINAHELY / WICKLOW | 295 | 18947 | GU_404460 | P | DG9A | 1.012 | 1.008
10306218562 | 30293 | 0293 | 5360 | Corvin Wind Ltd | Sheeragh, Meenkeragh, Sorne Hill, Buncrana | 50 | 2211 |  | N | DG7A | 0.989 | 0.989
10306235833 | 30294 | 0294 | 5361 | Corvin Wind Ltd | MEENKEERAGH HILL / BUNCRANA | 50 | 526 |  | N | DG7A | 0.989 | 0.989
10304862192 | 30295 | 0295 | 5364 | KNOCKNAGOUM WINDFARM LTD | LYRECROMPANE, LISTOWEL, KERRY | 275 | 46684 | GU_401350 | P | DG9A | 0.996 | 0.996
10301826346 | 30296 | 0296 | 5365 | BEAM WIND LTD | BUNCRANA, BEAM HILL | 130 | 14737 | GU_404560 | P | DG9A | 0.987 | 0.987
10305833862 | 30297 | 0297 | 5366 | BRUCKANA WIND FARM LTD | TEMPLETOUHY, THURLES | 500 | 41684 | GU_401700 | P | DG9A | 0.988 | 0.988
10304128570 | 30298 | 0298 | 5367 | Ballybane Windfarms Ltd | LAHADANE, BANTRY, CORK | 225 | 47842 | GU_402010 | P | DG9A | 1.003 | 0.999
10305497924 | 30299 | 0299 | 5371 | Barnafaddock Wind Farm | Ballyduff Co Waterford | 160 | 34105 | GU_401810 | P | DG9A | 1.008 | 1.004
10304845565 | 30300 | 0300 | 5370 | Carraigcannon Wind Farm Ltd | MALLOW, RATHCOOLE | 240 | 21053 | GU_401070 | P | DG9A | 0.995 | 0.995
10303472419 | 30301 | 0301 | 5372 | MUINGNAMINNANE WINDFARMS LTD | TRALEE, MUINGNAMINNANE | 108 | 16105 | GU_400960 | P | DG9A | 0.993 | 0.993
10304128570 | 30302 | 0302 | 5368 | Ballybane Windfarms Ltd | LAHADANE, BANTRY, CORK | 225 | 47842 | GU_400650 | P | DG9A | 1.003 | 0.999
10304128570 | 30303 | 0303 | 5369 | Ballybane Windfarms Ltd | LAHADANE, BANTRY, CORK | 225 | 47842 | GU_401790 | P | DG9A | 1.003 | 0.999
10305511499 | 30304 | 0304 | 5374 | BALLYCADDEN WIND FARM LTD | BUNCLODY, WEXFORD | 180 | 25486 | GU_401290 | P | DG7A | 0.979 | 0.979
10305511499 | 30305 | 0305 | 5375 | BALLYCADDEN WIND FARM LTD | BUNCLODY, WEXFORD | 180 | 25486 | GU_401360 | P | DG7A | 0.979 | 0.979
10305499154 | 30306 | 0306 | 5251 | Ballymartin Wind Farm Phase 2 | Ballymartin Co Kilkenny | 35 | 15031 | GU_401760 | P | DG7A | 0.963 | 0.959
10307382312 | 30307 | 0307 | 5373 | REI WIND DEVELOPMENTS | HOLLYFORD, TURRAHEEN UPPER | 50 | 658 |  | N | DG7A | 1.032 | 1.026
10305339002 | 30308 | 0308 | 5376 | BAWNMORE WIND FARM LTD. | CO CORK, CAHERNAFULLA | 158 | 29474 | GU_401150 | P | DG9A | 1.014 | 1.01
10304141368 | 30309 | 0309 | 5377 | POWERCON WIND ENERGY LTD | Bunniconlon, Carrowleagh | 300 | 38737 | GU_401280 | P | DG9A | 0.989 | 0.989
10304141777 | 30310 | 0310 | 5378 | Gibbet Hill Wind Farm | BUNCLODY, WEXFORD | 293 | 15578 | GU_401340 | P | DG7A | 0.983 | 0.983
10304642625 | 30311 | 0311 | 5379 | REIRK ENERGY LTD | CO LIMERICK, DROMDEEVEEN | 720 | 28421 | GU_401240 | P | DG9A | 1.005 | 1.001
10305321131 | 30312 | 0312 | 5380 | Garracummer Wind Farm Ltd | GARRACUMMER, TIPPERARY | 50 | 38895 | GU_401740 | P | DG9A | 0.979 | 0.979
10303477874 | 30313 | 0313 | 5382 | Indaver Ireland | DULEEK, CARRANSTOWN | 3000 | 21579 | GU_401230 | P | DG9A | 1.018 | 1.014
10303497327 | 30314 | 0314 | 5383 | SWS KNOCKAWARRIGA WINDFARM LTD | CO LIMERICK, KNOCKAWARRIGA | 50 | 30632 | GU_404200 | P | DG9A | 0.974 | 0.974
10304499708 | 30315 | 0315 | 5384 | Hibernian Wind Power Ltd. | CO LIMERICK, Grouse Lodge | 70 | 15789 | GU_401090 | P | DG9A | 1.011 | 1.007
10304143347 | 30316 | 0316 | 5385 | GORTAHILE WIND FARM LTD | CO LAOIS, GORTAHILE | 140 | 22105 | GU_401060 | P | DG9A | 1.016 | 1.012
10306463565 | 30317 | 0317 | 5386 | WED CASTLE LIMITED | TULLYNAMALRA / CASTLEBLAYNEY | 60 | 2777 |  | N | DG7A | 1.036 | 1.03
10011880422 | 30318 | 0318 | 5387 | CYCAD INVESTMENT CORPORATION | COOLMORE / THOMASTOWN | 49 | 47 |  | N | DG5B | 1.09 | 1.074
10304149671 | 30319 | 0319 | 5388 | GLENOUGH WINDFARM LTD | CO TIPPERARY, GLENOUGH | 75 | 34737 | GU_401250 | P | DG9A | 0.981 | 0.981
10305783021 | 30320 | 0320 | 5390 | Coir Na Gaoithe Teoranta | Leitir Guingaid & Doire Chrith 14MW WF, FURBO, CO GALWAY | 300 | 43053 | GU_401500 | P | DG9A | 1.013 | 1.009
10300547102 | 30321 | 0321 | 5391 | AIROSHIN WIND ENERGY LTD | KILLYBEGS, MEENACHULLALAN WINDFARM | 15 | 12526 | GU_400610 | P | DG9A | 1.015 | 1.011
10305911669 | 30322 | 0322 | 5392 | Monaincha Wind Farm Ltd | ROSCREA, TIPPERARY | 275 | 37842 | GU_401540 | P | DG9A | 1.013 | 1.009
10304722601 | 30323 | 0323 | 5393 | RATHCAHILL WINDFARM | CO LIMERICK, RATHCAHILL WEST | 100 | 13158 | GU_401080 | P | DG9A | 1.015 | 1.011
10300384904 | 30324 | 0324 | 5394 | RICHFIELD WINDFARM | CO WEXFORD, RICHFIELD | 758 | 28421 | GU_400080 | P | DG9A | 0.994 | 0.99
10301009313 | 30325 | 0325 | 5395 | Sorne Wind Ltd | BUNCRANA, SORNE | 90 | 40947 | GU_400550 | P | DG10 | 0.995 | 0.995
10305479041 | 30326 | 0326 | 5396 | Spadden Wind Farm | Acres Co Donegal | 225 | 18421 | GU_401820 | P | DG9A | 1.019 | 1.015
10305094350 | 30327 | 0327 | 5398 | Dublin Waste To Energy | Poolbeg Peninsula, Dublin | 6500 | 75789 | GU_402030 | P | DG10 | 1 | 1
10306229376 | 30328 | 0328 | 5399 | HUNTSTOWN BIOENERGY LTD | NORTH ROAD / DUBLIN 11 | 800 | 4210 |  | N | DG7A | 1.025 | 1.019
10305466382 | 30329 | 0329 | 5400 | KILLALA COMMUNITY WIND FARM DAC | KILLALA / BALLINA | 4500 | 31579 | GU_403750 | P | DG9A | 0.996 | 0.996
10306252217 | 30330 | 0330 | 5401 | BALLINCURRY WIND FARM LTD | BALLINCURRY / CO TIPPERARY | 60 | 4842 |  | N | DG7A | 0.998 | 0.992
10307382502 | 30331 | 0331 | 5402 | GORTNAHALLA WIND FARM LIMITED | GORTNAHALLA / THURLES | 50 | 525 |  | N | DG7A | 1.037 | 1.031
10304141368 | 30332 | 0332 | 5377 | Carrowleagh Windfarm | Carrowleagh / Bunniconlon | 300 | 38737 |  | N | DG9A | 0.989 | 0.989
10305485175 | 30333 | 0333 | 5403 | CUMHACHT AN TIGH SHOLAIS TEORANTA | ROSSAVEEL / CO GALWAY | 20 | 3158 |  | N | DG7A | 1.031 | 1.025
10307029457 | 30334 | 0334 | 5404 | Boolynaglaragh | Ennis, Co Clare | 720 | 38926 | GU_403770 | P | DG9A | 0.969 | 0.969
10305312495 | 30335 | 0335 | 5405 | Sorrell Island | Ennis, Co Clare | 700 | 33684 | GU_403800 | P | DG9A | 0.995 | 0.995
10306099138 | 30336 | 0336 | 5406 | Timoleague Agri | Barryshall, Bandon, Co Cork | 200 | 1158 |  | N | DG7A | 1.036 | 1.03
10307699990 | 30337 | 0337 | 5407 | Cleanreath Windfarm | Macroom, Cork | 1200 | 44884 | GU_403810 | P | DG9A | 0.99 | 0.99
10305853986 | 30338 | 0338 | 5408 | GWEEDORE WIND FARM | CRONALAGHT / GWEEDORE/CO DONEGAL | 295 | 18905 | GU_403840 | P | DG9A | 1.019 | 1.015
10304140954 | 30339 | 0339 | 5409 | Glenree Feeding Station | DRUMSHEEN/CO MAYO | 440 | 29474 | GU_403880 | P | DG9A | 0.996 | 0.996
10305312182 | 30340 | 0340 | 5410 | Seahound Wind Developments | LISSEYCASEY / CO CLARE | 128 | 14104 | GU_403950 | P | DG9A | 0.996 | 0.996
10305716552 | 30341 | 0341 | 5411 | Cork Green Energy | CLONDROHID / MACROOM | 381 | 1263 |  | N | DG7A | 1.037 | 1.031
10307768457 | 30342 | 0342 | 5412 | Raragh Windfarm | MARAHILL / KINGSCOURT | 250 | 12105 | GU_403970 | P | DG7A | 1.009 | 1.005
10306990826 | 30343 | 0343 | 5413 | Mauricetown Windfarm | BALLAGH, GLENDUFF | 204 | 14526 | GU_403980 | P | DG9A | 1.004 | 1
10305361319 | 30344 | 0344 | 5414 | Recycled Products Ltd | CAVANAWEERY / CO DONEGAL | 180 | 463 |  | N | DG6A | 1.027 | 1.021
10306553431 | 30345 | 0345 | 5415 | BIOCORE ENVIRONMENTAL AD1 LIMITED | BALLAGHADEREEN / CO ROSCOMMON | 150 | 1579 |  | N | DG7A | 1.002 | 0.996
10306553431 | 30346 | 0346 | 5415 | BIOCORE ENVIRONMENTAL AD1 LIMITED | BALLAGHADEREEN / CO ROSCOMMON | 150 | 1579 |  | N | DG7A | 1.002 | 0.996
10306551152 | 30347 | 0347 | 5416 | Black Lough Windfarm Limited | DROMORE WEST, CO SLIGO | 250 | 13158 | GU_403990 | P | DG7A | 0.941 | 0.941
10305503353 | 30348 | 0348 | 5417 | B&R Wind Limited | RATHNACALLY / CHARLEVILLE | 136 | 4684 |  | N | DG7A | 1.034 | 1.028
10306177852 | 30349 | 0349 | 5420 | DERRYSALLAGH WINDFARM | DERRYSALLAGH / BOYLE | 500 | 35789 | GU_405830 | P | DG9A | 0.989 | 0.989
10305312403 | 30350 | 0350 | 5423 | Kiltumper Wind Farm | KILTUMPER / CO CLARE | 48 | 4937 |  | N | DG7A | 0.978 | 0.978
10303497327 | 30351 | 0351 | 5383 | Knockawarriga Windfarm 2 | KNOCKAWARRIGA / CO LIMERICK | 50 | 30632 | GU_404290 | P | DG9A | 0.974 | 0.974
10306035827 | 30352 | 0352 | 5421 | CLOGHERAVADDY WIND FARM | CLOGHERAVADDY / CO DONEGAL | 336 | 21053 |  | N | DG7A | 0.994 | 0.994
10305162875 | 30353 | 0353 | 5213 | Derrynadivva Windfarm Limited | RAHEEN BARR / CASTLEBAR | 70 | 16105 |  | N | DG9A | 1.009 | 1.005
10306132397 | 30354 | 0354 | 5422 | Mid Clare Renewables | CAHERMURPHY / CO CLARE | 15 | 6316 |  | N | DG7A | 0.975 | 0.975
10000056454 | 30355 | 0355 | 5424 | THE FALLS HOTEL LIMITED | ENNISTYMON / CO CLARE | 320 | 237 |  | N | DG6B | 1.09 | 1.074
10306308693 | 30356 | 0356 | 5425 | Ballynultagh Windfarm | BALLYNULTAGH / SHILLELAGH | 50 | 525 |  | N | DG7A | 1.03 | 1.024
10306293101 | 30357 | 0357 | 5426 | KILACLUG HYDRO SCHEME LTD | MACROOM / CO CORK | 30 | 347 |  | N | DG5A | 1.026 | 1.02
10305495623 | 30358 | 0358 | 5427 | GUS RUDDY ALT TURBINES CO. LTD | BELMULLET / CO MAYO | 25 | 2684 |  | N | DG7A | 1.032 | 1.026
10304841432 | 30359 | 0359 | 5428 | Three Trees Wind Project Ltd | GLACKMORE / CO DONEGAL | 37 | 4474 |  | N | DG7A | 0.97 | 0.97
10304040543 | 30360 | 0360 | 5429 | Enros Wind Farm Ltd | BUNCRANA / CO DONEGAL | 30 | 2421 |  | N | DG7A | 0.972 | 0.972
10307769288 | 30361 | 0361 | 5430 | Esk Windfarm | Esk/ Co Cork | 750 | 24579 | GU_404340 | P | DG9A | 0.992 | 0.992
10305312495 | 30362 | 0362 | 5405 | Clare Winds Ltd | GLENMORE / CO CLARE | 700 | 33684 | GU_404480 | P | DG9A | 0.995 | 0.995
10306083249 | 30363 | 0363 | 5431 | WIND POWER CONSULTANTS LTD | CARHOOEARAGH / MOYVANE | 30 | 525 |  | N | DG5A | 1.037 | 1.031
10306939950 | 30364 | 0364 | 5432 | KILPATRICK WIND LTD. | KILPATRICK / BANDON | 30 | 525 |  | N | DG7A | 1.037 | 1.031
10000095466 | 30365 | 0365 | 5435 | ISLAND SEAFOODS | Killybegs / Co DOnegal | 409 | 126 |  | N | DG6B | 1.09 | 1.074
10306035827 | 30366 | 0366 | 5436 | CLOGHERAVADDY WIND FARM | CLOGHERAVADDY / CO DONEGAL | 336 | 21053 | GU_404630 | P | DG9A | 0.994 | 0.994
10307912648 | 30367 | 0367 | 5437 | WIND POWER CONSULTANTS LTD | KILCARRIG / BAGENALSTOWN | 30 | 526 |  | N | DG6A | 1.027 | 1.021
10307426796 | 30368 | 0368 | 5438 | HORTLAND SOLAR LIMITED | KILCOCK / CO KILDARE | 125 | 14737 | GU_405100 | P | DG7A | 1.033 | 1.027
10306658579 | 30369 | 0369 | 5439 | MILLVALE SOLAR LIMITED | MILLTOWN EAST / CO WICKLOW | 100 | 8421 |  | N | DG7A | 1.034 | 1.028
10309019797 | 30370 | 0370 | 5440 | CREGG WIND FARM LTD | RARAGH / KINGSCOURT | 415 | 24274 | GU_405110 | P | DG9A | 1.014 | 1.01
10304766877 | 30371 | 0371 | 5441 | Roscrea Leisure Centre | ROSCREA LEISURE CENTRE / ROSCREA | 130 | 126 |  | N | DG6B | 1.037 | 1.031
10303327668 | 30372 | 0372 | 5442 | THURLES LEISURE CENTRE | CATHEDRAL STREET / TIPPERARY | 110 | 105 |  | N | DG6A | 1.037 | 1.031
10308134841 | 30373 | 0373 | 5443 | BLUSHEENS SOLAR LIMITED | Killinick / ROSSLARE | 160 | 8400 |  | N | DG7A | 1.034 | 1.028
10308442972 | 30374 | 0374 | 5444 | CURRAGHMARTIN SOLAR LIMITED | CURRAGHMARTIN / KILKENNY | 80 | 4200 |  | N | DG7A | 1.031 | 1.025
10308141364 | 30375 | 0375 | 5445 | Coolroe Solar Limited | Coolroe / BALLYCULLANE | 80 | 5252 |  | N | DG7A | 1.035 | 1.029
10305339002 | 30376 | 0376 | 5446 | Knockglass Solar | CAHERNAFULLA / CO CORK | 158 | 29474 | GU_405080 | P | DG9A | 1.014 | 1.01
10307283913 | 30377 | 0377 | 5447 | Hilltown Solar | ASHBOURNE, HILLTOWN | 125 | 10526 | GU_405090 | P | DG7A | 1.018 | 1.012
10308380043 | 30378 | 0378 | 5448 | Davidstown Solar Farm | DAVIDSTOWN / ENNISCORTHY | 50 | 5211 |  | N | DG9A | 1.021 | 1.017
10308548722 | 30379 | 0379 | 5449 | Lurig Solar Farm | CROCANE / CLOYNE | 50 | 4147 |  | N | DG7A | 1.005 | 0.999
10308120181 | 30382 | 0382 | 5453 | Gorey Solar Limited | BANOGE / GOREY | 200 | 4211 |  | N | DG7A | 1.037 | 1.031
10306035827 | 30383 | 0383 | 5454 | CLOGHERAVADDY Phase 3 | CLOGHERAVADDY / CO DONEGAL | 336 | 21053 |  | N | DG9A | 0.994 | 0.994
10305417426 | 30384 | 0384 | 5455 | GREENFIELD VENTURES LIMITED | GILLSTOWN / NAVAN | 50 | 525 |  | N | DG6A | 1.019 | 1.013
10306757479 | 30385 | 0385 | 5456 | SHESKIN WIND FARM LTD | BELLACORRICK / CO MAYO | 379 | 17684 | GU_406560 | P | DG9A | 1.013 | 1.009
10308119982 | 30388 | 0388 | 5459 | Macallian Solar Limited | KILLABEG / ENNISCORTHY | 200 | 9474 |  | N | DG7A | 1.035 | 1.029
10305394083 | 30392 | 0392 | 5463 | Connacht GAA Center Of Excellence | BALLYHAUNIS, CLOONACURRY | 300 | 316 |  | N | DG6A | 1.09 | 1.074
10308128772 | 30393 | 0393 | 5464 | Beaulieu Solar DAC | BEAULIEU / DROGHEDA | 50 | 4200 |  | N | DG7A | 1.031 | 1.025
10306473116 | 30394 | 0394 | 5465 | AMARENCO SOLAR INNISCARRA LTD | INNISCARRA / CO CORK | 50 | 5211 |  | N | DG7A | 1.037 | 1.031
10307820079 | 30395 | 0395 | 5466 | CLOONCON EAST SINGLE WTG LTD | GLENAMADDY / CO GALWAY | 50 | 947 |  | N | DG7A | 1.036 | 1.03
10309274282 | 30397 | 0397 | 5468 | Painestown Hill Solar DAC | CO MEATH, RATOATH | 50 | 7516 |  | N | DG6A | 1.035 | 1.029
10306412246 | 30404 | 0404 | 5475 | AMARENCO SOLAR KILMONEY LIMITED | CARRIGALINE, SHANAGRAIGUE | 50 | 5210 |  | N | DG7A | 1.027 | 1.021
10306721129 | 30405 | 0405 | 5476 | AMARENCO SOLAR KANTURK LTD | KANTURK, DROMALOUR | 40 | 5211 |  | N | DG7A | 1.036 | 1.03
10306814326 | 30406 | 0406 | 5477 | AMARENCO SOLAR WHITECHURCH LTD | DRUMGARRIFF | 40 | 5211 |  | N | DG7A | 1.034 | 1.028
10307124681 | 30419 | 0419 | 5491 | HTS SOURCE RENEWABLE PARTNERS LTD | CLARA, LEHINCH | 50 | 4211 |  | N | DG6A | 1.034 | 1.028
10306405872 | 30441 | 0441 | 5513 | AMARENCO SOLAR MALLOW LTD | CO CORK, MALLOW | 50 | 5210 |  | N | DG7A | 1.031 | 1.025
10310430042 | 30463 | 0463 | 5536 | Ballymacadam (Monraha) Solar PV Farm | MONARAHA / CAHIR / Tipperary | 150 | 22105 | GU_406710 | P | DG9A | 1.021 | 1.017
10306197098 | 30472 | 0472 | 5544 | GLENMORE GENERATION LTD | BALLYBOFEY, GLENMORE | 1700 | 526 |  | N | DG7B | 1.037 | 1.031
10308400350 | 30488 | 0488 | 5560 | GOREY SPV LIMITED | BANOGUE / CO WEXFORD | 50 | 4211 |  | N | DG7A | 1.037 | 1.031
10308430990 | 30526 | 0526 | 5596 | Grange Backup Power 1 | Ballymakaily, Grange Castle, Co. Dublin | 2000 | 121263 | GU_407560 | P | DG10 | 1 | 1
10308430990 | 30527 | 0527 | 5597 | Grange Backup Power 2 | Ballymakaily, Grange Castle, Co. Dublin | 2000 | 121263 | GU_403450 | P | DG10 | 1 | 1
10308430990 | 30528 | 0528 | 5598 | Grange Backup Power 3 | Ballymakaily, Grange Castle, Co. Dublin | 2000 | 121263 | GU_407570 | P | DG10 | 1 | 1
10308430990 | 30542 | 0542 | 5612 | Grange Backup Power 4 | Ballymakaily, Grange Castle, Co. Dublin | 2000 | 121263 | GU_407580 | P | DG10 | 1 | 1
10308430990 | 30543 | 0543 | 5613 | Grange Backup Power 5 | Ballymakaily, Grange Castle, Co. Dublin | 2000 | 121263 | GU_407590 | P | DG10 | 1 | 1
10308430990 | 30544 | 0544 | 5614 | Grange Backup Power 6 | Ballymakaily, Grange Castle, Co. Dublin | 2000 | 121263 | GU_407600 | P | DG10 | 1 | 1
10308397536 | 30545 | 0545 | 5615 | GORESBRIDGE SPV LIMITED | CO KILKENNY, GORESBRIDGE | 50 | 4211 |  | N | DG7A | 1.037 | 1.031
10309203553 | 30572 | 0572 | 5642 | Crossmore Windfarm | Crossmore Co Clare | 350 | 26526 | GU_407660 | P | DG9A | 0.979 | 0.979
10306416681 | 30587 | 0587 | 5658 | EEPV2 LIMITED | LISNAGEERAGH / EDGEWORTHSTOWN | 30 | 4210 |  | N | DG7A | 1.037 | 1.031
10308125211 | 30610 | 0610 | 5679 | Friarspark Solar Limited | Friarspark 6th Division / TRIM | 100 | 4211 |  | N | DG7A | 1.031 | 1.025
10307450765 | 30611 | 0611 | 5681 | Dunmurry Springs Solar PV | RAHILLA GLEBE / Kildare | 150 | 12632 | GU_407690 | P | DG7A | 1.01 | 1.006
10306726506 | 30643 | 0643 | 5712 | BULLSTOWN SOLAR LTD | ASHBOURNE / CO MEATH | 50 | 8863 |  | N | DG7A | 1.037 | 1.031
10306654246 | 30666 | 0666 | 5735 | BNRG KERDIFFSTOWN LIMITED | NAAS / CO KILDARE | 50 | 4210 |  | N | DG7A | 1.036 | 1.03
10309007683 | 30670 | 0670 | 5739 | BLUE PINE SOLAR 03 LIMITED | KILMACTHOMAS / CO WATERFORD | 50 | 4211 |  | N | DG7A | 1.037 | 1.031
10306561539 | 30684 | 0684 | 5753 | EEPV3 LTD | OLDCASTLE / CO MEATH | 30 | 4211 |  | N | DG7A | 1.037 | 1.031
Note on A65: Plunkett. Keith (ESB Networks): From David Killian - With respect to MPRN 10000041412, this generator and site no longer exists. Cork Co. Co. have removed the Whimpy / Greenstar assets off their site, and Cork Co. Co. have set up their own generator on the same site – named KRLF Landfill Gas Utilisation. The MPRN for the latter is 10305984912.